###### Addendum No 1 Item No 2

- Amendment to Section VI: Employer’s Requirement, Part 2B – Specifications

Bidders are hereby notified that the following clauses under Section 2.3 (Air Insulated Substations) have been DELETED from this section and relocated to Part 1, ITB 11.1(l):

- Clause 2.3.15 Documentation with Bid

- Clause 2.3.8 Documentation with Bid

- Clause 2.3.16 Additional Documents to be submitted with the Tender

- Clause 2.4 Documentation after Award of Contract

- Amendment to Part 1 and 3, Section II-Bid Datasheet, ITB 11.1 (l)

Part 1 and 3, Section II-Bid Datasheet, ITB 11.1 (l) is hereby amended to include the additional required documents.

The Bidder shall submit the following as part of its Bid:

This Addendum No. 1 item No 2 of Part 1 and 3, Section II-Bid Datasheet, ITB 11.1 (l), serves as a total replacement of the Original Document under Part 1 and 3, Section II-Bid Datasheet, ITB 11.1 (l).

- Documentation with Bid

The Bidder shall submit the following additional documents in its Bid: Duly filled Price Schedules, The Project Schedule and all Technical Schedules with detailed information of offered materials and equipment, in which all required information, shall be filled completely as specified in the Tender documents. This shall include but not be limited to Manufacturer’s Authorization, type test reports (less than 10 years old), ISO 9001 certificates, catalogues and drawings for major equipment.

Major plant / equipment ( 220kV, 132kV, 33kV and 11kV) shall include but not limited to Transformers, Circuit Breakers, Disconnectors, CT, CVT, LA, Busbar and Conductors, insulators, Control and protection system (CRP), Substation and Automation systems, and communication systems (SASCS), Neutral earthing reactors, diesel generator, auxiliary transformers, Gantries, etc...

Documents that prove experience and eligibility for registration with NCA class 1 category. The winning bidder must provide evidence of successful registration within three (3) months after issuance of notification of award.

Comprehensive outage plan method statement demonstrating how to minimize the shutdown time for implementation of the requisite activities for completion of works including but not limited to demolitions, displacements and/or new erections / installations, testing etc... in view of the busbar reconfiguration from the current single bus arrangement to a double bus. Bidders have to demonstrate in their method statement that they are technically able to implement the project with minimal outage and in the most efficient way while allowing for power flow through the substation to the distribution feeders as works progress.

The Bid shall contain at least the following information and documents, failure of provision of the mentioned documents will lead to disqualification:

- General layout drawings of the substations;

- Single line diagrams of the substations;

- General arrangement drawings of switchyards;

- Manufacturing specification of the main equipment;

- Catalogues, literature, reference lists of all proposed equipment, sufficiently detailed in such a way that the Employer/Employer’s Representative may have full and complete knowledge of the Plant and equipment offered.

- Type test certificates from an independent testing authority or independently witnessed;

- Quality Management System Manual and ISO Certificate of the equipment manufacturer.

- Verified bid drawings (General SLD, Layout, SLD of LV Supply Systems, PSLD, SAS, Telecommunication, Civil and Transmission Line);

- List of major components of equal or similar design, size, and/or capacity indicating:

- Location, Title of the project, Total Contract Price. Time for completion

- Size, number and major parameter of units supplied;

- Name and address of the Client including contact person and country;

- Date of contract award & date of commissioning;

- Client`s letter expressing opinion of the work done.

- Experience list for any proposed major sub-contractor in particular civil sub-contractor, if any, indicating his experience in major capital projects of this nature and the high quality of workmanship required.

- Major sub-suppliers or sub-contractors

- Statement of the Tenderer’s financial standing (audited statement for last 3 years) including the name and address of his banks and the authorization of Employer to approach Tenderer’s bankers for relevant information and comments and audited reports for the last three years.

- Project Schedule (Milestones & Gates)

- HSE Plan

- Risk Register

- A detailed program of design, manufacture, shipping, erection, testing & commissioning and the civil works

- Methodology and execution plan for completion of construction works within project schedule and put into commercial operation excluding a period for mobilization for each substation.

- Additional documents as requested below (in  II.  Other Additional Documents to be submitted with the Tender)

- Other Additional Documents to be submitted with the Tender

In addition to the Tender Documents issued for tendering, it is mandatory for the tenderer to provide and properly bind in the Prime Document; the following additional documents shall be submitted in addition.

- A copy of each Circular Letter and Addendum, if any, issued by the Internal Tender Committee of Client, appropriately endorsed by the Tenderer.

- A statement giving the name(s) of the person(s) authorized to sign Agreements on behalf of the Tenderer including his (their) specimen signature(s).

- The proposed Organization Chart, giving details, numbers and categories of the supervisory and technical staff, their qualifications, previous appointments and experience, together with Curriculum Vitae of the supervisory and technical staff and the estimated labor force to be employed in the Works.

- CVs for the Key staff proposed for this project. Also bidder shall submit the current assignments of the proposed key staff associated and status of the project. Moreover, bidder shall declare the proposed key staff will be available for this contract in the event of award.

- Tenderer must submit with his tender a list of all local and expatriate employees employed in the Company. Giving the name of the employee, job category, and unit rate per month (monthly salary) in the prescribed forms included in the Tenderer`s Enclosures. Tenderer engaging a high proportion of local employees shall be given preferential consideration.

- A list of all major works which the tenderer has completed within the past five years and of all works which are presently under construction, giving the name of the Client, Consultant, location, value, duration and date of completion.

- A list of any proposed sub-contractor and suppliers, including local firms, with particulars of the extent of the work, which it is proposed will be undertaken by them.

- A statement signifying that a Site inspection has been made and that the tenderer has no doubts or queries regarding the site, ground conditions, access, permits, or permission required concerning the Contract (if site visit to be mandatory in the tender).

- A tender Bond as per Part-1, Section II-Bid Data Sheet in ITB 19-1, 20-1 and Form of Bid Security, obtained from a locally registered insurance Company or Bank.

- A list of manufacturer’s recommended spare parts and special tools giving description, numbers and unit price as required by Specification and Bill of Quantities.

- A statement of unresolved doubts regarding the meaning of anything contained within the Tender Documents and the interpretation relied upon by the tenderer.

A statement confirming that the tenderer is fully aware of Kenya Standards and KETRACO’s HSE Policy & Procedures.

- Documentation after Award of Contract

All documents required for KETRACO’s approval shall be submitted by the Contractor.

- Code of Conduct for Contractor’s Personnel (ES)

The Bidder shall submit its Code of Conduct that will apply to the Contractor’s Personnel (as defined in GCC Sub- Clause 1) employed for the execution of Installation Services (defined in GCC Sub- Clause 1) at the Site (or other places in the country where the Site is located), to ensure compliance with the Contractor’s Environmental and Social (ES) obligations under the Contract. The Bidder shall use for this purpose the Code of Conduct form provided in Section IV. No substantial modifications shall be made to this form, except that the Bidder may introduce additional requirements, including as necessary to take into account specific Contract issues/risks.

Management Strategies and Implementation Plans (MSIP) to manage the (ES) risks

The Bidder shall submit Management Strategies and Implementation Plans (MSIPs) to manage the following key Environmental and Social (ES) risks:

- Construction Environmental and Social Management Plan (C-ESMP)

- Safety and Health Plan

- Gender Based Violence, Sexual Exploitation, and Abuse (SEA) and Sexual Harassment (SH) prevention and response action plan

- Chance Find Procedure

- Management and Safety of Hazardous Materials

- Resource Efficiency and Pollution Prevention and Management

- Road Safety and Traffic Management Plan

- Waste Management Plan

- Labor Influx and Labour Management Plan

- Emergency Preparedness and Response Plan,

- Stakeholder Engagement and Community Relations Plan

- Community Health and Safety and Security Plan

- Occupational Health and Safety Plan

- Child Protection Strategy

- HIV/AIDs Prevention Strategy

- Grievance Management Plan and Procedures

- Security Management Procedures

- HIV AIDS and communicable diseases prevention and response plan

- Utilities Relocation Plan

- Water Resource and Wastewater Management

- Air Quality and Noise/Vibration Management

The prepared Plans at minimum will be consistent with the project prepared and disclosed ESIA, National laws and regulations, and the AfDB Integrated Safeguards Systems (ISS)