## Schedule 1-Kabarnet-Rumuruti
SCHEDULE NO. 1
PLANT, EQUIPMENT AND MANDATORY SPARES SUPPLIED FROM ABROAD
1 | 2 | 3 | 4 |  | 6 | 7 | 8 | 9
Item No | Description | Country of Origin | Unit | Estimated Quantity | Foreign Currency (FC1) = USD (FC2) = EURO |  | Total Price
[5 empty] | Foreign Manufacture |  | Foreign Manufacture
[5 empty] | Unit Price (CIP) |  | (Quantity x Unit Price)
[5 empty] | FC1 | FC2 | FC1 | FC2
1 | Grounding as per technical specification
1.1 | Basic tower earthing, Type A |  | per tower | 324
1.2 | Additional tower earthing, Type B |  | per tower | 59
1.3 | Additional tower earthing, Type C |  | per tower | 35
1.4 | Additional tower earthing, Type D |  | per tower | 24
1.5 | Fence earthing |  | set | 9
1.6 | Line termination relocation including all the cost for supply, fabricate of towers and hardware and fittings as well as foundation casting including all the materials and works required |  | lump sum | 1
2 | STEEL TOWERS including stubs with cleats
SELF-SUPPORTING STEEL TOWERS, COMPLETE WITH ALL PLATES, SAFETY DEVICES, FITTINGS, BOLTS, NUTS AND ACCESSORIES Notes: 1. Quoted prices for items 2.1.3 to 2.1.5, 2.2.3 to 2.2.5, 2.3.3 to 2.3.5, 2.4.3 to 2.4.5, and 2.5.3 to 2.5.5 shall relate only to the applicable 3m-, 6m- and 9m-body extensions for the respective towers as given in the outline drawing and not including complete basic tower with extensions. 2. Quoted prices 2.1.6 to 2.1.11, 2.2.6 to 2.2.11, 2.3.6 to 2.3.11, 2.4.6 to 2.4.11, and 2.5.6 to 2.5.11 shall relate only to the respective 1m-, 2m-, 3m- , 4m-, 5m-, and 6m-leg extensions for the subject towers as given in the outline drawing.
2.1 | Towers Type S |  | per tower | 150
2.1.1 | Type S tower, basic tower (includes ±0m LE) |  | per tower | 145
2.1.2 | Type S tower, complete basic tower - 3m |  | per tower | 5
2.1.3 | Type S tower , 3m Body extension |  | per tower | 37
2.1.4 | Type S tower , 6m Body extension |  | per tower | 15
2.1.5 | Type S tower , 9m Body extension |  | per tower | 5
2.1.6 | Type S tower , 1m Leg extension |  | per leg | 140
2.1.7 | Type S tower , 2m Leg extension |  | per leg | 140
2.1.8 | Type S tower , 3m Leg extension |  | per leg | 140
2.1.9 | Type S tower , 4m Leg extension |  | per leg | 140
2.1.10 | Type S tower , 5m Leg extension |  | per leg | 20
2.1.11 | Type S tower , 6m Leg extension |  | per leg | 20
2.1.12 | Stubs complete with stub extensions, cleats, nut and bolts |  | each | 600
2.2 | Towers Type T10 |  | per tower | 129
2.2.1 | Type T10 tower, basic tower (includes ±0m LE) |  | per tower | 119
2.2.2 | Type T10 tower, complete basic tower - 3m |  | per tower | 10
2.2.3 | Type T10 tower , 3m Body extension |  | per tower | 21
2.2.4 | Type T10 tower , 6m Body extension |  | per tower | 20
2.2.5 | Type T10 tower , 9m Body extension |  | per tower | 5
2.2.6 | Type T10 tower , 1m Leg extension |  | per leg | 100
2.2.7 | Type T10 tower , 2m Leg extension |  | per leg | 100
2.2.8 | Type T10 tower , 3m Leg extension |  | per leg | 100
2.2.9 | Type 10 tower , 4m Leg extension |  | per leg | 180
2.2.10 | Type T10 tower , 5m Leg extension |  | per leg | 24
2.2.11 | Type 10 tower , 6m Leg extension |  | per leg | 12
2.2.12 | Stubs complete with stub extensions, cleats, nut and bolts |  | each | 516
2.3 | Towers Type T30 |  | per tower | 13
2.3.1 | Type T30 tower, basic tower (includes ±0m LE) |  | per tower | 12
2.3.2 | Type T30 tower, complete basic tower - 3m |  | per tower | 1
2.3.3 | Type T30 tower , 3m Body extension |  | per tower | 2
2.3.4 | Type T30 tower , 6m Body extension |  | per tower | 2
2.3.5 | Type T30 tower , 9m Body extension |  | per tower | 1
2.3.6 | Type T30 tower , 1m Leg extension |  | per leg | 12
2.3.7 | Type T30 tower , 2m Leg extension |  | per leg | 8
2.3.8 | Type T30 tower , 3m Leg extension |  | per leg | 8
2.3.9 | Type T30 tower , 4m Leg extension |  | per leg | 8
2.3.10 | Type T30 tower , 5m Leg extension |  | per leg | 8
2.3.11 | Type T30 tower , 6m Leg extension |  | per leg | 8
2.3.12 | Stubs complete with stub extensions, cleats, nut and bolts |  | each | 52
2.4 | Towers TypeT60 |  | per tower | 24
2.4.1 | Type T60 tower, basic tower (includes ±0m LE) |  | per tower | 23
2.4.2 | Type T60/ tower, complete basic tower - 3m |  | per tower | 1
2.4.3 | Type T60/ tower , 3m Body extension |  | per tower | 4
2.4.4 | Type T60/ tower , 6m Body extension |  | per tower | 15
2.4.5 | Type T60/ tower , 9m Body extension |  | per tower | 2
2.4.6 | Type T60/ tower , 1m Leg extension |  | per leg | 20
2.4.7 | Type T60/ tower , 2m Leg extension |  | per leg | 20
2.4.8 | Type T60/ tower , 3m Leg extension |  | per leg | 20
2.4.9 | Type T60/ tower , 4m Leg extension |  | per leg | 12
2.4.10 | Type T60/ tower , 5m Leg extension |  | per leg | 12
2.4.11 | Type T60/ tower , 6m Leg extension |  | per leg | 12
2.4.12 | Stubs complete with stub extensions, cleats, nut and bolts |  | each | 96
2.5 | Type T90/Ttrm (60°- 90°/0°- 45°) Tension Tower |  | per tower | 8
2.5.1 | Type T90/Ttrm tower, basic tower (includes ±0m LE) |  | per tower | 7
2.5.2 | Type T90/Ttrm tower, complete basic tower - 3m |  | per tower | 1
2.5.3 | Type T90/Ttrm tower , 3m Body extension |  | per tower | 1
2.5.4 | Type T90/Ttrm tower , 6m Body extension |  | per tower | 1
2.5.5 | Type T90/Ttrm tower , 9m Body extension |  | per tower | 1
2.5.6 | Type T90/Ttrm tower , 1m Leg extension |  | per leg | 8
2.5.7 | Type T90/Ttrm tower , 2m Leg extension |  | per leg | 4
2.5.8 | Type T90/Ttrm tower , 3m Leg extension |  | per leg | 4
2.5.9 | Type T90/Ttrm tower , 4m Leg extension |  | per leg | 8
2.5.10 | Type T90/Ttrm tower , 5m Leg extension |  | per leg | 4
2.5.11 | Type T90/Ttrm tower , 6m Leg extension |  | per leg | 4
2.5.12 | Stubs complete with stub extensions, cleats, nut and bolts |  | each | 32
2.6 | Tower Obstruction Lighting complete including power supply, according to ICAO regulations, or other method, eg inductive, details to be provided. |  | per tower | 50
2.7 | Tower Obstruction Lighting complete including independent solar power supply, according to ICAO regulations. |  | per tower | 50
2.8 | Aircraft warning spheres 60cm diameter according to ICAO regulations. |  | each | 500
3 | LINE CONDUCTOR INSULATORS AND FITTINGS
Supply of Complete Insulator Sets including insulators and all fittings between tower and Conductor ( Suitable for project's conductor), including all types of clamps, extension links, armor rods, counterweights, and all connections to Towers. (A set consists of 3 phase insulators)
3.1 | Suspension String |  | Set | 540
3.2 | Double Suspension String |  | Set | 360
3.3 | Tension String |  | Set | 1253
3.4 | Double Tension String |  | Set | 836
3.5 | Jumper String (Pilot ) |  | Set | 120
3.6 | Vibration dampers |  | Set | 8064
3.7 | Mid Span Joints |  | Set | 84
3.8 | Repair Sleeve |  | Set | 18
3.9 | Tension string for gantry connection together with required jumper and dropper (if any) |  | Set | 6
4 | OPGW FITTINGS AND ACCESSORIES
Supply of complete Sets of Fittings, including all types of clamps, extension links, armor rods, counterweights, earth bonds and all connections to Towers.
4.1 | Suspension set for OPGW |  | Set | 150
4.2 | Tension set for OPGW |  | Set | 346
4.3 | OPGW Joint Box 2 way |  | Set | 24
4.4 | OPGW Joint Box 3 way |  | Set | 2
4.5 | OPGW Joint Box 4 way |  | Set | 1
4.6 | Vibration dampers |  | Set | 1344
4.7 | Tension set for OPGW for gantry connection |  | Set | 2
5 | CONDUCTOR AND GROUND WIRES
Supply of conductors and optical groundwire including all joints, sleeves, jumper loops, spacers and necessary dampers, earthing connections and all downleads inclusive of requisite accessories to facilitate transmission line termination on the substation gantries (OPGW installation must include after installation tests e.g. OTDR test)
5.1 | ACSR Conductor Code Name "Lynx"; 6-phases (one ACSR 'Lynx' conductor per phase) Note: Allowances for sagging, jumpers etc within the line and at substation ends shall be part of the quoted contract price per km of line route length. |  | route km | 94
5.2 | Optical Groundwire (1 x OPGW) including all splicing and connections to joint boxes Note: Allowances for sagging, splicing as well as slacks allowed for maintenance purposes within the line and at substation ends shall be part of the quoted contract price per km of line route length. |  | route km | 94
6 | ERS TOWER SET
6.1 | Suspension ERS Tower Set including modular tower/structure, foundation/base plate, insulators along with hardware fittings, container, anchors assemblies suitable for project soil condition, guy wire and accessories, installation and construction tools and other required equipment |  | Tower Set | 2
6.2 | Tension ERS Tower Set including modular tower/structure, foundation/base plate, insulators along with hardware fittings, container, anchors assemblies suitable for project soil condition, guy wire and accessories, installation and construction tools and other required equipment |  | Tower Set | 3
7 | SPARE PARTS
7.1 | Tower
7.1.1 | Basic Body-Towers Type S |  | per tower | 5
7.1.2 | +3 m Body Extension-Towers Type S |  | per tower | 2
7.1.3 | +9 m Body Extension-Towers Type S |  | per tower | 2
7.1.4 | +2 m Leg Extension-Towers Type S |  | per leg | 10
7.1.5 | +3 m Leg Extension-Towers Type S |  | per leg | 10
7.1.6 | Stubs -Towers Type S |  | each | 20
7.1.7 | Basic Body-Towers Type T10 |  | per tower | 4
7.1.8 | +3 m Body Extension-Towers Type T10 |  | per tower | 2
7.1.9 | +9 m Body Extension-Towers Type T10 |  | per tower | 2
7.1.10 | +2 m Leg Extension-Towers Type T10 |  | per leg | 8
7.1.11 | +3 m Leg Extension-Towers Type T10 |  | per leg | 8
7.1.12 | Stubs -Towers Type T10 |  | each | 16
7.1.13 | Basic Body-Towers Type T60 |  | per tower | 1
7.1.14 | +6 m Body Extension-Towers Type T60 |  | per tower | 1
7.1.15 | +2 m Leg Extension-Towers Type T60 |  | per leg | 2
7.1.16 | +3 m Leg Extension-Towers Type T60 |  | per leg | 2
7.1.17 | Stubs -Towers Type T60 |  | each | 4
7.2 | Line conductor insulators and fittings
7.2.1 | Suspension String |  | Set | 15
7.2.2 | Tension String |  | Set | 30
7.2.3 | Jumper String (Pilot ) |  | Set | 5
7.2.4 | Vibration dampers |  | Set | 55
7.2.5 | Mid Span Joints |  | Set | 5
7.2.6 | Repair Sleeve |  | Set | 5
7.3 | OPGW fittings and accessories
7.3.1 | Suspension set for OPGW |  | Set | 5
7.3.2 | Tension set for OPGW |  | Set | 10
7.3.3 | OPGW Joint Box 4 way |  | Set | 1
7.3.4 | Vibration dampers |  | Set | 18
7.4 | Conductor and Ground wires
7.4.1 | ACSR Conductor Code Name "Lynx" |  | km | 8
7.4.2 | Optical Groundwire (OPGW) including all splicing and connections to joint boxes |  | km | 3
8 | OPERATION AND MAINTENANCE TOOLS
8.1 | Earth Resistance Testing unit |  | each | 1
8.2 | Torque wrench (60-120Nm) |  | each | 2
8.3 | Torque wrench (140-310Nm) |  | each | 2
8.4 | Motor operated Hydraulic press & Die Kit for Lynx Conductor |  | each | 1
8.5 | Tirfor for steel wire rope (3.5T) |  | each | 1
8.6 | Tirfor for steel wire rope (7T) |  | each | 1
8.7 | Steel wire rope 14 mm X 50 M Legth piece |  | each | 4
8.8 | Wire clip (14mm Crosby type) |  | each | 6
8.9 | Wire connector 14 mm rotating swivel type |  | each | 6
8.1 | Stringing stocking/tension type grips for ACSR Lynx Conductor |  | each | 3
8.11 | Stringing stocking/tension type for OPWG |  | each | 2
8.12 | Automatic clamp (Chicago Grip) |  | each | 6
8.13 | Chain pully block 3 T |  | each | 1
8.14 | Chain pully block 6 T |  | each | 1
8.15 | Total Station |  | Set | 1
8.16 | Thermo-Vision Scanner |  | each | 1
8.17 | Binocular |  | each | 2
8.18 | Safety packages: belt, helmet, gloves, shoes, |  | Set | 5
9 | MISCELLANEOUS
9.1 | MS Office- latest version as per Clause 1.33 of Part 2-A- Scope & General Requirements |  | Lot | 1
9.2 | AutoCAD for Windows permitting 8 users as per Clause 1.33 of Part 2-A- Scope & General Requirements |  | Lot | 1
9.3 | PLS-CADD Software(full options with all modules), PLS-Tower, PLS-Pole, permitting 3 users as per Clause 1.33 of Part 2-A- Scope & General Requirements |  | Lot | 1
9.4 | Mobile phones including air time for the entire duration of the contract as per Clause 1.35.2 of Part 2-A- Scope & General Requirements |  | set | 20
9.5 | Satellite phones including connectivity cost for the entire duration of the contract as per Clause 1.35.2 of Part 2-A- Scope & General Requirements |  | set | 4
9.6 | Project Laptops with all required software as per Clause 1.33 Part 2-A- Scope & General Requirements |  | No. | 8
9.7 | General Software (Office, AutoCAD, etc.) as per Clause 1.33 Part 2-A- Scope & General Requirements |  | lump sum | 1
9.8 | GPS Device as per Clause 1.33 Part 2-A- Scope & General Requirements |  | No | 2
TOTAL PRICE SCHEDULE 1

## Schedule 2-Kabarnet-Rumuruti
SCHEDULE NO. 2
PLANT, EQUIPMENT AND MANDATORY SPARES SUPPLIED FROM WITHIN EMPLOYERS COUNTRY
1 | 2 | 3 | 4 | 5 | 6
Item No | Description | Estimated Quantity | Unit | Local Currency (KSh) = KENYAN SHILLINGS | Total Price
|  |  |  | Local Manufacture | Local Manufacture
|  |  |  | Unit Price (CIP) | (Quantity x Unit Price)
|  |  |  | KSh | KSh
1 | Grounding as per technical specification
1.1 | Basic tower earthing, Type A | per tower | 324
1.2 | Additional tower earthing, Type B | per tower | 59
1.3 | Additional tower earthing, Type C | per tower | 35
1.4 | Additional tower earthing, Type D | per tower | 24
1.5 | Fence earthing | set | 9
1.6 | Line termination relocation including all the cost for supply, fabricate of towers and hardware and fittings as well as foundation casting including all the materials and works required | lump sum | 1
2 | STEEL TOWERS including stubs with cleats
SELF-SUPPORTING STEEL TOWERS, COMPLETE WITH ALL PLATES, SAFETY DEVICES, FITTINGS, BOLTS, NUTS AND ACCESSORIES Notes: 1. Quoted prices for items 2.1.3 to 2.1.5, 2.2.3 to 2.2.5, 2.3.3 to 2.3.5, 2.4.3 to 2.4.5, and 2.5.3 to 2.5.5 shall relate only to the applicable 3m-, 6m- and 9m-body extensions for the respective towers as given in the outline drawing and not including complete basic tower with extensions. 2. Quoted prices 2.1.6 to 2.1.11, 2.2.6 to 2.2.11, 2.3.6 to 2.3.11, 2.4.6 to 2.4.11, and 2.5.6 to 2.5.11 shall relate only to the respective 1m-, 2m-, 3m- , 4m-, 5m-, and 6m-leg extensions for the subject towers as given in the outline drawing.
2.1 | Towers Type S | per tower | 150
2.1.1 | Type S tower, basic tower (includes ±0m LE) | per tower | 145
2.1.2 | Type S tower, complete basic tower - 3m | per tower | 5
2.1.3 | Type S tower , 3m Body extension | per tower | 37
2.1.4 | Type S tower , 6m Body extension | per tower | 15
2.1.5 | Type S tower , 9m Body extension | per tower | 5
2.1.6 | Type S tower , 1m Leg extension | per leg | 140
2.1.7 | Type S tower , 2m Leg extension | per leg | 140
2.1.8 | Type S tower , 3m Leg extension | per leg | 140
2.1.9 | Type S tower , 4m Leg extension | per leg | 140
2.1.10 | Type S tower , 5m Leg extension | per leg | 20
2.1.11 | Type S tower , 6m Leg extension | per leg | 20
2.1.12 | Stubs complete with stub extensions, cleats, nut and bolts | each | 600
2.2 | Towers Type T10 | per tower | 129
2.2.1 | Type T10 tower, basic tower (includes ±0m LE) | per tower | 119
2.2.2 | Type T10 tower, complete basic tower - 3m | per tower | 10
2.2.3 | Type T10 tower , 3m Body extension | per tower | 21
2.2.4 | Type T10 tower , 6m Body extension | per tower | 20
2.2.5 | Type T10 tower , 9m Body extension | per tower | 5
2.2.6 | Type T10 tower , 1m Leg extension | per leg | 100
2.2.7 | Type T10 tower , 2m Leg extension | per leg | 100
2.2.8 | Type T10 tower , 3m Leg extension | per leg | 100
2.2.9 | Type 10 tower , 4m Leg extension | per leg | 180
2.2.10 | Type T10 tower , 5m Leg extension | per leg | 24
2.2.11 | Type 10 tower , 6m Leg extension | per leg | 12
2.2.12 | Stubs complete with stub extensions, cleats, nut and bolts | each | 516
2.3 | Towers Type T30 | per tower | 13
2.3.1 | Type T30 tower, basic tower (includes ±0m LE) | per tower | 12
2.3.2 | Type T30 tower, complete basic tower - 3m | per tower | 1
2.3.3 | Type T30 tower , 3m Body extension | per tower | 2
2.3.4 | Type T30 tower , 6m Body extension | per tower | 2
2.3.5 | Type T30 tower , 9m Body extension | per tower | 1
2.3.6 | Type T30 tower , 1m Leg extension | per leg | 12
2.3.7 | Type T30 tower , 2m Leg extension | per leg | 8
2.3.8 | Type T30 tower , 3m Leg extension | per leg | 8
2.3.9 | Type T30 tower , 4m Leg extension | per leg | 8
2.3.10 | Type T30 tower , 5m Leg extension | per leg | 8
2.3.11 | Type T30 tower , 6m Leg extension | per leg | 8
2.3.12 | Stubs complete with stub extensions, cleats, nut and bolts | each | 52
2.4 | Towers TypeT60 | per tower | 24
2.4.1 | Type T60 tower, basic tower (includes ±0m LE) | per tower | 23
2.4.2 | Type T60/ tower, complete basic tower - 3m | per tower | 1
2.4.3 | Type T60/ tower , 3m Body extension | per tower | 4
2.4.4 | Type T60/ tower , 6m Body extension | per tower | 15
2.4.5 | Type T60/ tower , 9m Body extension | per tower | 2
2.4.6 | Type T60/ tower , 1m Leg extension | per leg | 20
2.4.7 | Type T60/ tower , 2m Leg extension | per leg | 20
2.4.8 | Type T60/ tower , 3m Leg extension | per leg | 20
2.4.9 | Type T60/ tower , 4m Leg extension | per leg | 12
2.4.10 | Type T60/ tower , 5m Leg extension | per leg | 12
2.4.11 | Type T60/ tower , 6m Leg extension | per leg | 12
2.4.12 | Stubs complete with stub extensions, cleats, nut and bolts | each | 96
2.5 | Type T90/Ttrm (60°- 90°/0°- 45°) Tension Tower | per tower | 8
2.5.1 | Type T90/Ttrm tower, basic tower (includes ±0m LE) | per tower | 7
2.5.2 | Type T90/Ttrm tower, complete basic tower - 3m | per tower | 1
2.5.3 | Type T90/Ttrm tower , 3m Body extension | per tower | 1
2.5.4 | Type T90/Ttrm tower , 6m Body extension | per tower | 1
2.5.5 | Type T90/Ttrm tower , 9m Body extension | per tower | 1
2.5.6 | Type T90/Ttrm tower , 1m Leg extension | per leg | 8
2.5.7 | Type T90/Ttrm tower , 2m Leg extension | per leg | 4
2.5.8 | Type T90/Ttrm tower , 3m Leg extension | per leg | 4
2.5.9 | Type T90/Ttrm tower , 4m Leg extension | per leg | 8
2.5.10 | Type T90/Ttrm tower , 5m Leg extension | per leg | 4
2.5.11 | Type T90/Ttrm tower , 6m Leg extension | per leg | 4
2.5.12 | Stubs complete with stub extensions, cleats, nut and bolts | each | 32
2.6 | Tower Obstruction Lighting complete including power supply, according to ICAO regulations, or other method, eg inductive, details to be provided. | 20 | 50
2.7 | Tower Obstruction Lighting complete including independent solar power supply, according to ICAO regulations. | 20 | 50
2.8 | Aircraft warning spheres 60cm diameter according to ICAO regulations. | 300 | 500
3 | LINE CONDUCTOR INSULATORS AND FITTINGS
Supply of Complete Insulator Sets including insulators and all fittings between tower and Conductor ( Suitable for project's conductor), including all types of clamps, extension links, armor rods, counterweights, and all connections to Towers. (A set consists of 3 phase insulators)
3.1 | Suspension String | Set | 540
3.2 | Double Suspension String | Set | 360
3.3 | Tension String | Set | 1253
3.4 | Double Tension String | Set | 836
3.5 | Jumper String (Pilot ) | Set | 120
3.6 | Vibration dampers | Set | 8064
3.7 | Mid Span Joints | Set | 84
3.8 | Repair Sleeve | Set | 18
3.9 | Tension string for gantry connection together with required jumper and dropper (if any) | Set | 6
4 | OPGW FITTINGS AND ACCESSORIES
Supply of complete Sets of Fittings, including all types of clamps, extension links, armor rods, counterweights, earth bonds and all connections to Towers.
4.1 | Suspension set for OPGW | Set | 150
4.2 | Tension set for OPGW | Set | 346
4.3 | OPGW Joint Box 2 way | Set | 24
4.4 | OPGW Joint Box 3 way | Set | 2
4.5 | OPGW Joint Box 4 way | Set | 1
4.6 | Vibration dampers | Set | 1344
4.7 | Tension set for OPGW for gantry connection | Set | 2
5 | CONDUCTOR AND GROUND WIRES
Supply of conductors and optical groundwire including all joints, sleeves, jumper loops, spacers and necessary dampers, earthing connections and all downleads inclusive of requisite accessories to facilitate transmission line termination on the substation gantries (OPGW installation must include after installation tests e.g. OTDR test)
5.1 | ACSR Conductor Code Name "Lynx"; 6-phases (one ACSR 'Lynx' conductor per phase) Note: Allowances for sagging, jumpers etc within the line and at substation ends shall be part of the quoted contract price per km of line route length. | route km | 94
5.2 | Optical Groundwire (1 x OPGW) including all splicing and connections to joint boxes Note: Allowances for sagging, splicing as well as slacks allowed for maintenance purposes within the line and at substation ends shall be part of the quoted contract price per km of line route length. | route km | 94
6 | ERS TOWER SET
6.1 | Suspension ERS Tower Set including modular tower/structure, foundation/base plate, insulators along with hardware fittings, container, anchors assemblies suitable for project soil condition, guy wire and accessories, installation and construction tools and other required equipment | Tower Set | 2
6.2 | Tension ERS Tower Set including modular tower/structure, foundation/base plate, insulators along with hardware fittings, container, anchors assemblies suitable for project soil condition, guy wire and accessories, installation and construction tools and other required equipment | Tower Set | 3
7 | SPARE PARTS
7.1 | Tower
7.1.1 | Basic Body-Towers Type S | per tower | 5
7.1.2 | +3 m Body Extension-Towers Type S | per tower | 2
7.1.3 | +9 m Body Extension-Towers Type S | per tower | 2
7.1.4 | +2 m Leg Extension-Towers Type S | per leg | 10
7.1.5 | +3 m Leg Extension-Towers Type S | per leg | 10
7.1.6 | Stubs -Towers Type S | each | 20
7.1.7 | Basic Body-Towers Type T10 | per tower | 4
7.1.8 | +3 m Body Extension-Towers Type T10 | per tower | 2
7.1.9 | +9 m Body Extension-Towers Type T10 | per tower | 2
7.1.10 | +2 m Leg Extension-Towers Type T10 | per leg | 8
7.1.11 | +3 m Leg Extension-Towers Type T10 | per leg | 8
7.1.12 | Stubs -Towers Type T10 | each | 16
7.1.13 | Basic Body-Towers Type T60 | per tower | 1
7.1.14 | +6 m Body Extension-Towers Type T60 | per tower | 1
7.1.15 | +2 m Leg Extension-Towers Type T60 | per leg | 2
7.1.16 | +3 m Leg Extension-Towers Type T60 | per leg | 2
7.1.17 | Stubs -Towers Type T60 | each | 4
7.2 | Line conductor insulators and fittings
7.2.1 | Suspension String | Set | 15
7.2.2 | Tension String | Set | 30
7.2.3 | Jumper String (Pilot ) | Set | 5
7.2.4 | Vibration dampers | Set | 55
7.2.5 | Mid Span Joints | Set | 5
7.2.6 | Repair Sleeve | Set | 5
7.3 | OPGW fittings and accessories
7.3.1 | Suspension set for OPGW | Set | 5
7.3.2 | Tension set for OPGW | Set | 10
7.3.3 | OPGW Joint Box 4 way | Set | 1
7.3.4 | Vibration dampers | Set | 18
7.4 | Conductor and Ground wires
7.4.1 | ACSR Conductor Code Name "Lynx" | km | 8
7.4.2 | Optical Groundwire (OPGW) including all splicing and connections to joint boxes | km | 3
8 | OPERATION AND MAINTENANCE TOOLS
8.1 | Earth Resistance Testing unit | each | 1
8.2 | Torque wrench (60-120Nm) | each | 2
8.3 | Torque wrench (140-310Nm) | each | 2
8.4 | Motor operated Hydraulic press & Die Kit for Lynx Conductor | each | 1
8.5 | Tirfor for steel wire rope (3.5T) | each | 1
8.6 | Tirfor for steel wire rope (7T) | each | 1
8.7 | Steel wire rope 14 mm X 50 M Legth piece | each | 4
8.8 | Wire clip (14mm Crosby type) | each | 6
8.9 | Wire connector 14 mm rotating swivel type | each | 6
8.1 | Stringing stocking/tension type grips for ACSR Lynx Conductor | each | 3
8.11 | Stringing stocking/tension type for OPWG | each | 2
8.12 | Automatic clamp (Chicago Grip) | each | 6
8.13 | Chain pully block 3 T | each | 1
8.14 | Chain pully block 6 T | each | 1
8.15 | Total Station | Set | 1
8.16 | Thermo-Vision Scanner | each | 1
8.17 | Binocular | each | 2
8.18 | Safety packages: belt, helmet, gloves, shoes, | Set | 5
9 | MISCELLANEOUS
9.1 | MS Office- latest version as per Clause 1.33 of Part 2-A- Scope & General Requirements | 1 | 1
9.2 | AutoCAD for Windows permitting 8 users as per Clause 1.33 of Part 2-A- Scope & General Requirements | 1 | 1
9.3 | PLS-CADD Software(full options with all modules), PLS-Tower, PLS-Pole, permitting 3 users as per Clause 1.33 of Part 2-A- Scope & General Requirements | 1 | 1
9.4 | Vehicle Type 2 as per Clause 1.35.1 of Part 2-A- Scope & General Requirements | No. | 3
9.5 | Mobile phones including air time for the entire duration of the contract as per Clause 1.35.2 of Part 2-A- Scope & General Requirements | set | 20
9.6 | Satellite phones including connectivity cost for the entire duration of the contract as per Clause 1.35.2 of Part 2-A- Scope & General Requirements | set | 4
9.7 | Project Laptops with all required software as per Clause 1.33 Part 2-A- Scope & General Requirements | No. | 8
9.8 | General Software (Office, AutoCAD, etc.) as per Clause 1.33 Part 2-A- Scope & General Requirements | lump sum | 1
9.9 | GPS Device as per Clause 1.33 Part 2-A- Scope & General Requirements | No | 2
TOTAL PRICE SCHEDULE 2

## Schedule 3-Kabarnet-Rumuruti
SCHEDULE NO. 3
DESIGN SERVICES
1 | 2 | 3 |  | 5 | 6 | 7 | 8 | 9 | 10
Item No | Description | Unit | Estimated Quantity | Foreign Currency (FC1) = USD Foreign Currency (FC2) = EURO Local Currency (KSh) = KENYAN SHILLINGS |  |  | Total Price
|  |  |  | Installation & Other Services |  |  | Installation & Other Services
|  |  |  | Unit Price |  |  | (Quantity x Unit Price)
|  |  |  | FC1 | FC2 | KSh | FC1 | FC2 | KSh
1 | DESIGN SERVICES
1.1 | Tower Design for Tower type S, T10, T30, T60, T90/Ttrm (the tower design shall be carried out for all height combination) | per tower | 5
1.2 | Foundation Design for class 1, class 2, class 3, class 4, class 4W, class 5, class 5W and class 6 (For all tower types and soil types) including type tests | per tower | 5
1.3 | Conductor and OPGW Design including type tests | lump sum | 1
1.4 | Insulator design including type tests | lump sum | 1
1.5 | Insulator string design including type tests | lump sum | 1
1.6 | Tower earthing design | lump sum | 1
1.7 | ERS design (tower, foundation and all related equipment, as well as installation manual and training) including type tests | lump sum | 2
1.8 | Line Profiling (preparation of plan and profile drawings, tower spotting and tower schedule in PLS-CADD software) | lump sum | 1
2 | TRAINING
Training as per Clause 1.38 of Part 2-A- Scope & General Requirements
2.1 | Transmission line design training | Lot | 1
2.2 | Civil/structure Engineering training | Lot | 1
2.3 | Emergency restoration system (ERS) training | Lot | 1
2.4 | Operations & Maintenance training | Lot | 1
4 | TOWER TYPE TESTS
4.1 | Suspension tower Type test (BB+9mBE+4mLE)- to destruction test including supply, erection, recovery including all related costs as per employer requirements | LS | 1
4.2 | T10 tower Type test (9mBE+4mLE)-100% load test | LS | 1
4.3 | T30 tower Type test (9mBE+4mLE)-100% load test | LS | 1
4.4 | T60 tower Type test (9mBE+4mLE)-100% load test | LS | 1
4.5 | T90/Trm tower Type test (9mBE+4mLE)-100% load test | LS | 1
5 | CONDUCTOR TYPE TESTS | LS | 1
6 | OPGW TYPE TESTS | LS | 1
7 | LINE CONDUCTOR INSULATOR TYPE TESTS | LS | 1
8 | LINE CONDUCTOR FITTING TYPE TESTS | LS | 1
9 | OPGW FITTING AND ACCESSORIES TYPE TESTS | LS | 1
11 | FACTORY ACCEPTANCE TESTS
11.1 | Tower, stub and accessories FAT (prior to shipment) | Per tower | 5
11.2 | Conductor FAT (prior to shipment) | Equipment | 1
11.3 | OPGW FAT (prior to shipment) | Equipment | 1
11.4 | Line conductor Insulator FAT (prior to shipment) | Equipment | 1
11.5 | Line conductor fitting FAT (prior to shipment) | Equipment | 1
11.6 | OPGW fitting and accessories FAT (prior to shipment) | Equipment | 1
11.7 | ERS tower set FAT (prior to shipment) | Equipment | 1
TOTAL PRICE SCHEDULE 3

## Schedule 4-Kabarnet-Rumuruti
SCHEDULE NO. 4
INSTALLATION AND OTHER SERVICES
1 | 2 | 3 |  | 5 | 6 | 7 | 8 | 9 | 10
Item No | Description | Unit | Estimated Quantity | Foreign Currency (FC1) = USD Foreign Currency (FC2) = EURO Local Currency (KSh) = KENYAN SHILLINGS |  |  | Total Price
|  |  |  | Installation & Other Services |  |  | Installation & Other Services
|  |  |  | Unit Price |  |  | (Quantity x Unit Price)
|  |  |  | FC1 | FC2 | KSh | FC1 | FC2 | KSh
1.0 | GENERAL WORKS
All necessary survey activities including but not limited to survey of crossing objects including pegging of towers, diagonal profiles and all necessary documentation for the OHTL, soil investigations and route clearing & access roads.
1.1 | Mobilization costs towards contractor's storage yards and facilities | lot | 1
1.1 | Complete detailed profile survey and setting out of the transmision line route including preparation of plan and profile drawings, tower spotting / pegging of tower positions, check surveys and preparation of associated reports, preparation of cross-diagonal profiles for all tower locations, tower schedules etc. | route km | 94
1.3 | Prices for comprehensive/detailed soil investigations and tests including all overheads and earth resistance data per location as Specified
1.3.1 | Machine boring of single bore hole up to a depth of 10meters including all necessray drilling, sampling, laboratory testing of samples, the preparation of reports, including correlations with in-situ tests detailed in relevant sections of specifications and in line with recommendations for design of foundations: including all mobilisation and demobilistaion costs and all transport of equipment between tower sites (SPT) | tower | 174
1.3.2 | Sub-soil investigations at tower locations by means of in-situ penetrometer, vane test or bearing test per spefications to determine class of foundation to be installed | tower | 324
1.4 | Line access / wayleave trace clearance Shall include bush clearing along the way leave trace of the transmission line route as well as requisite access roads as per specifications | route km | 94
1.5 | Relocation / Undergrounding with underground cables of Low Voltage / Medium Voltage Distribution Power Lines. NB: Upon conclusion of plan and profile designs and these works are found necessary, they shall be undertaken as shall be advised by the Project Manager upon consultation with the owner (KPLC). KPLC usually undertakes these works upon payment and contractor shall make necessary arrangments with them.
1.5.1 | Paying for relocation/ undergrounding of existing 66 kV lines that new line will cross. | km | 0.2
1.5.2 | Paying for relocation/ undergrounding of existing 33 kV lines that new line will cross. | km | 3
1.5.3 | Paying for relocation/ undergrounding of existing 11 kV lines that new line will cross. | km | 2
1.5.4 | Paying for relocation/ undergrounding of existing 0.415 kV (below 11 kV) lines that new line will cross. | km | 5
1.6 | Line termination relocation including all the cost for supply, fabricate of towers and hardware and fittings as well as foundation casting including all the materials and works required | lump sum | 1
1.7 | Testing, final inspection and commissioning for all project's transmission lines | lump sum | 1
2.0 | FOUNDATION WITH STUB
Installation of complete foundations for various Tower Types according to the specification, including but not limited to; stubs, cleats and setting, transport, excavation, installation of stubs, all necessary reinforcement, shuttering, concreting, backfilling, compacting, complete tower earthing and their connections to tower, measuring of earth resistance and submitting of records to Employer / Engineer, according to drawings and regulations of the Employer. Soil class definition according to permissible soil pressure and in agreement with the design and specifications. Price of all required material i.e concrete and steel reinforcement is deemed included
2.1 | Towers Type S | per tower | 150
2.1.1 | Class 1 (rock) | per tower | 15
2.1.2 | Class 2 Pad and Chimney | per tower | 45
2.1.3 | Class 3 Pad and Chimney | per tower | 60
2.1.4 | Class 4 Pad and Chimney | per tower | 14
2.1.5 | Class 4W Pad and Chimney | per tower | 6
2.1.6 | Class 5 Pad and Chimney | per tower | 5
2.1.7 | Class 5W Pad and Chimney | per tower | 4
2.1.8 | Class 6 ( piled foundation) | per tower | 1
2.2 | Towers Type T10 | per tower | 129
2.2.1 | Class 1 (rock) | per tower | 13
2.2.2 | Class 2 Pad and Chimney | per tower | 39
2.2.3 | Class 3 Pad and Chimney | per tower | 52
2.2.4 | Class 4 Pad and Chimney | per tower | 12
2.2.5 | Class 4W Pad and Chimney | per tower | 8
2.2.6 | Class 5 Pad and Chimney | per tower | 2
2.2.7 | Class 5W Pad and Chimney | per tower | 2
2.2.8 | Class 6 ( piled foundation) | per tower | 1
2.3 | Towers Type T30 | per tower | 13
2.3.1 | Class 1 (rock) | per tower | 2
2.3.2 | Class 2 Pad and Chimney | per tower | 3
2.3.3 | Class 3 Pad and Chimney | per tower | 3
2.3.4 | Class 4 Pad and Chimney | per tower | 1
2.3.5 | Class 4W Pad and Chimney | per tower | 1
2.3.6 | Class 5 Pad and Chimney | per tower | 1
2.3.7 | Class 5W Pad and Chimney | per tower | 1
2.3.8 | Class 6 ( piled foundation) | per tower | 1
2.4 | Towers Type T60 | per tower | 24
2.4.1 | Class 1 (rock) | per tower | 3
2.4.2 | Class 2 Pad and Chimney | per tower | 7
2.4.3 | Class 3 Pad and Chimney | per tower | 9
2.4.4 | Class 4 Pad and Chimney | per tower | 1
2.4.5 | Class 4W Pad and Chimney | per tower | 1
2.4.6 | Class 5 Pad and Chimney | per tower | 1
2.4.7 | Class 5W Pad and Chimney | per tower | 1
2.4.8 | Class 6 ( piled foundation) | per tower | 1
2.5 | Towers Type T90/ Trm | per tower | 8
2.5.1 | Class 1 (rock) | per tower | 1
2.5.2 | Class 2 Pad and Chimney | per tower | 1
2.5.3 | Class 3 Pad and Chimney | per tower | 1
2.5.4 | Class 4 Pad and Chimney | per tower | 1
2.5.5 | Class 4W Pad and Chimney | per tower | 1
2.5.6 | Class 5 Pad and Chimney | per tower | 1
2.5.7 | Class 5W Pad and Chimney | per tower | 1
2.5.8 | Class 6 ( piled foundation) | per tower | 1
3 | MISCELLANEOUS PRICES FOR FOUNDATION WORKS: Special foundation works including pile caps, beams and modification to normal foundation to adapt specified foundation classes to cater for particular soil conditions. NB: These shall only be applicable stated works have been approved by the Project Manager and executed
3.1 | Stone masonry retaining wall in cement:sand (1:3) mortar | Square meter | 500
3.2 | 1m x 1m x 1m rock filled gabion installed to protect foundations against erosion | Linear Meter | 1000
3.3 | Additional structural concrete (grade C25/30 per eurocode notation) including cost of formwork | cubic meter | 300
3.4 | Additional excavation including reinstatement | cubic meter | 600
3.5 | Additional steel reinfocing bars including supply, bending and placing | tonnes | 10
3.6 | Solid rock excavation excluding Class 1 foundations (including reinstatement) | cubic meter | 17000
3.7 | Rip-rap stone work, 0.5m deep over tower base to protect against erosion | Square meter | 1300
3.8 | Imported Backfill material including placement | cubic meter | 13000
4 | TOWER GROUNDING
| All tower groundings including but not limited to excavation, laying of counterpoise, connection to towers including all clamps or other connections, corrosion protection, backfilling, compaction and measuring of ohmic value (regardless of the grounding type, includes any required grounding works such as fence earthing) | per tower | 324
5 | STEEL TOWERS
Complete tower erection works in accordance with specifications along with approved which shall include but not limited to handling, storage at site and distribution to individual sites, installation of tower accessories, anti-theft bolts etc. Securing against vandalism during construction Notes: 1. Quoted prices for items 5.1.3 to 5.1.5, 5.2.3 to 5.2.5, 5.3.3 to 5.3.5, 5.4.3 to 5.4.5 and 5.5.3 to 5.5.5 shall relate only to the applicable 3m-, 6m- and 9m-body extensions for the respective towers as given in the outline drawing and not including complete basic tower with extensions. 2. Quoted prices 5.1.6 to 5.1.11, 5.2.6 to 5.2.11, 5.3.6 to 5.3.11, 5.4.6 to 5.4.11 and 5.5.6 to 5.5.11 shall relate only to the respective 1m-, 2m-, 3m-, 4m-, 5m-, 6m- leg extensions for the subject towers as given in the outline drawing.
5.1 | Complete Erection Works of Type S Suspension Tower |  | 150
5.1.1 | Type S tower, basic tower (includes ±0m LE) | per tower | 145
5.1.2 | Type S tower, complete basic tower - 3m | per tower | 5
5.1.3 | Type S tower , 3m Body extension | per tower | 37
5.1.4 | Type S tower , 6m Body extension | per tower | 15
5.1.5 | Type S tower , 9m Body extension | per tower | 5
5.1.6 | Type S tower , 1m Leg extension | per leg | 140
5.1.7 | Type S tower , 2m Leg extension | per leg | 140
5.1.8 | Type S tower , 3m Leg extension | per leg | 140
5.1.9 | Type S tower , 4m Leg extension | per leg | 140
5.1.10 | Type S tower , 5m Leg extension | per leg | 20
5.1.11 | Type S tower , 6m Leg extension | per leg | 20
5.2 | Complete Erection Works of Type T10 Tension Tower |  | 129
5.2.1 | Type T10 tower, basic tower (includes ±0m LE) | per tower | 119
5.2.2 | Type T10 tower, complete basic tower - 3m | per tower | 10
5.2.3 | Type T10 tower , 3m Body extension | per tower | 21
5.2.4 | Type T10 tower , 6m Body extension | per tower | 20
5.2.5 | Type T10 tower , 9m Body extension | per tower | 5
5.2.6 | Type T10 tower , 1m Leg extension | per leg | 100
5.2.7 | Type T10 tower , 2m Leg extension | per leg | 100
5.2.8 | Type T10 tower , 3m Leg extension | per leg | 100
5.2.9 | Type 10 tower , 4m Leg extension | per leg | 180
5.2.10 | Type 10 tower , 5m Leg extension | per leg | 24
5.2.11 | Type 10 tower , 6m Leg extension | per leg | 12
5.3 | Complete Erection Works for Type T30 Tension Tower |  | 13
5.3.1 | Type T30 tower, basic tower (includes ±0m LE) | per tower | 12
5.3.2 | Type T30 tower, complete basic tower - 3m | per tower | 1
5.3.3 | Type T30 tower , 3m Body extension | per tower | 2
5.3.4 | Type T30 tower , 6m Body extension | per tower | 2
5.3.5 | Type T30 tower , 9m Body extension | per tower | 1
5.3.6 | Type T30 tower , 1m Leg extension | per leg | 12
5.3.7 | Type T30 tower , 2m Leg extension | per leg | 8
5.3.8 | Type T30 tower , 3m Leg extension | per leg | 8
5.3.9 | Type T30 tower , 4m Leg extension | per leg | 8
5.3.10 | Type T30 tower , 5m Leg extension | per leg | 8
5.3.11 | Type T30 tower , 6m Leg extension | per leg | 8
5.4 | Complete Erection Works for Type T60 (30°- 60°) Tension Tower |  | 24
5.4.1 | Type T60 tower, basic tower (includes ±0m LE) | per tower | 23
5.4.2 | Type T60 tower, complete basic tower - 3m | per tower | 1
5.4.3 | Type T60 tower , 3m Body extension | per tower | 4
5.4.4 | Type T60 tower , 6m Body extension | per tower | 15
5.4.5 | Type T60 tower , 9m Body extension | per tower | 2
5.4.6 | Type T60 tower , 1m Leg extension | per leg | 20
5.4.7 | Type T60 tower , 2m Leg extension | per leg | 20
5.4.8 | Type T60 tower , 3m Leg extension | per leg | 20
5.4.9 | Type T60 tower , 4m Leg extension | per leg | 12
5.4.10 | Type T60 tower , 5m Leg extension | per leg | 12
5.4.11 | Type T60 tower , 6m Leg extension | per leg | 12
5.5 | Complete Erection Works for Type T90/Ttrm (60°- 90°/0°- 45°) Tension Tower |  | 8
5.5.1 | Type T90/Ttrm tower, basic tower (includes ±0m LE) | per tower | 7
5.5.2 | Type T90/Ttrm tower, complete basic tower - 3m | per tower | 1
5.5.3 | TypeT90/Ttrm tower , 3m Body extension | per tower | 1
5.5.4 | Type T90/Ttrm tower , 6m Body extension | per tower | 1
5.5.5 | Type T90/Ttrm tower , 9m Body extension | per tower | 1
5.5.6 | Type T90/Ttrm tower , 1m Leg extension | per leg | 8
5.5.7 | TypeT90/Ttrm tower , 2m Leg extension | per leg | 4
5.5.8 | Type T90/Ttrm tower , 3m Leg extension | per leg | 4
5.5.9 | Type /T90/Ttrm tower , 4m Leg extension | per leg | 8
5.5.10 | Type /T90/Ttrm tower , 5m Leg extension | per leg | 4
5.5.11 | Type /T90/Ttrm tower , 6m Leg extension | per leg | 4
5.6 | Painting of towers for day marking of aerial obstructions (in bands of white and red including all necessary material) according to specification and ICAO recommendations. | tower | 50
5.7 | Tower Obstruction Lighting complete including power supply, according to ICAO regulations, or other method, eg inductive, details to be provided. | tower | 50
5.8 | Tower Obstruction Lighting complete including independent solar power supply, according to ICAO regulations. | tower | 50
5.9 | Aircraft warning spheres | No. | 500
5.1 | Welding of tower bolts & nuts and painting over with Anti-rust and galvanizing paint including Steel Cradle guards. | tower | 324
5.11 | Provision of temporary backstays to accommodate temporary termination of conductors on tension towers. | lump sum | 1
5.12 | PRICES FOR MISCELLANEOUS STEEL WORKS FABRICATED IN LINE WITH SPECIFICATIONS, PRICES FOR SPECIAL TOWERS, SPECIAL EXTENSIONS AND MODIFICATIONS NB: These shall only be applicable where special towers, special extensions and modifications and any miscellaneous steel works have been approved by the Project Manager.
5.12.1 | Structural Mild Steel | tonnes | 5
5.12.2 | Structural High Tensile Steel | tonnes | 5
6 | INSTALLATION OF CONDUCTORS AND GROUND WIRES (OPGW)
Complete stringing works for phase conductors and ground wire (OPGW) inclusive of related hardware and fittings installation. All costs for distribution from storage to individual tower sites and complete installation upto gantry according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, extension links, armor rods, conductors and earthwires to correct sags, jumpers, sleevs, joint works, vibration dampers, counterweights, earth bonds, downleads et c as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. This shall include all requisite tests across joints for phase conductors as well as OTDR test for OPGW once concluded amongst others.
6.1 | ACSR Conductor Code Name "Lynx"; 6-phases (one ACSR 'Lynx' conductor per phase) | route km | 94
6.2 | Optical Groundwire (1 x OPGW) including all splicing and connection works to joint boxes and associated tests | route km | 94
7 | OTHER SERVICES
7.1 | Internship and employment as per Clause 1.32.2 of Part 2-A- Scope & General Requirements
7.1.1 | Graduates Internship | No. | 5
7.1.2 | Graduates Employment | No. | 2
7.2 | Site Office fully equipped/furnished as per Clause 1.32 to 1.34 of Part 2-A- Scope & General Requirements | Month | 24
7.3 | Project Office fully equipped/furnished as per Clause 1.32 to 1.34 of Part 2-A- Scope & General Requirements | Month | 24
7.4 | Project progress meetings as per clause 1.19 Part 2-A- Scope & General Requirements | Lot | 1
7.5 | Housing/Accomodation as per Clause 1.32 to 1.34 of Part 2-A- Scope & General Requirements | Month | 24
7.6 | Climate Change Impact Mitigation as per Clause 1.39 Part 2-A- Scope & General Requirements: The contractor shall plant trees worth KES 5,000,000 or at least 30,000 trees whichever is higher | Lot | 1
7.7 | CSR as per Clause 1.40 Part 2-A- Scope & General Requirements | Lot | 1 |  |  | 10000000
7.8 | Provision of transport services for the use of the Employer and Employer’s representative as per clause 1.35 for Vehicle Type 1 (10No.) | Month | 34
TOTAL PRICE SCHEDULE 4

## Schedule 5-Kabarnet-Rumuruti
SCHEDULE NO. 5
GRAND SUMMARY OF PRICES
1 | 2 | 3 | 4 | 5
Item No | Description | Total Price
|  | FC1 | FC2 | KSh
1 | Total of Schedule No. 1 Plant, Equipment and Mandatory Spare Parts Supplied from Abroad
2 | Total of Schedule No. 2 Plant, Equipment and Mandatory Spare Parts Supplied from within Employer's Country
3 | Total of Schedule No. 3 Design Services
4 | Total of Schedule No. 4 Installation and other Services
TOTAL PRICES (SCHEDULES 1-4)

## Sched.6-Recommended Spares
SCHEDULE NO. 6
Recommended Spare Parts
1 | 2 | 3 | 4 | 5 | 6
Item No | Description | Quantity | Unit Price |  | Total Price
|  |  | CIF or CIP (foreign parts) | EXW (local parts)
|  | (1) | (2) | (3) | (1) x (2) or (3)