## Schedule 1 Supply Foreign
Price Schedules
Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad
Schedule No. 1.0: Restoration of damaged Towers 925-929 400kV LS Transmission Line
ITEM NO | DESCRIPTION | CODE COUNTRY OF ORIGIN | UNIT | QTY | Unit Price CIP Project Site | Total Price
[5 empty] | USD | USD
1 | SELF-SUPPORTING STEEL TOWERS, COMPLETE WITH ALL PLATES, SAFETY DEVICES, FITTINGS, BOLTS, NUTS, ACCESSORIES AND EXTENSIONS
1.1 | Type NSK Basic - Normal Suspension tower |  | Per tower | 4
1.1.1 | 3m Body extension |  | Per tower | 1
1.1.2 | 6m Body Extension |  | Per tower | 1
1.1.3 | 9m Body Extension |  | Per tower | 1
1.1.4 | 1m leg extension |  | Per leg | 1 |  | 0
1.1.5 | 2m leg extension |  | Per leg | 1 |  | 0
1.1.6 | 3m leg extension |  | Per leg | 1 |  | 0
1.1.7 | 4m leg extension |  | Per leg | 1
1,2 | Type LAK - standard tension tower |  | Per tower | 1
1.2.1 | 3m Body extension |  | Per tower | 1
1.2.2 | 6m Body extension |  | Per tower | 1
1.2.3 | 1m leg extension |  | Per leg | 1
1.2.4 | 2m leg extension |  | Per leg | 1
1.3 | Type MAK Basic - standard tension tower |  | Per tower | 1 |  | 0
1.3.1 | 3m Body extension |  | Per tower | 1
1.3.2 | 6m Body Extension |  | Per tower | 1
1.3.3 | 1m leg extension |  | Per leg | 1
1.3.4 | 2m leg extension |  | Per leg | 1
1.7 | NSK Stubs ( foundation works) |  | Per tower | 1 |  | 0
1.8 | LAK Stubs ( foundation works) |  | Per tower | 1
1.9 | LAK Stubs ( foundation works) |  | Per tower | 1
Sub-Total, Tower Supply (items 1.1 - 15) | [5 empty] | 0
NOTE: Anti-theft bolts shall be provided from ground level to 1m below the lowest cross arm.
2 | All tower groundings including, counterpoise, connection to towers including all clamps or other connections, corrosion protection & Tower accessories
2,1 | Basic grounding, consisting of three (3) ground rods 1m long and 5m counterpoise. |  | per tower | 5 |  | 0
2,2 | Special grounding, 20 m lengths of ground wire including connectors. |  | per tower | 5 |  | 0
2,3 | Complete set of tools for all connecting and jointing of earthing devices |  | set | 5 |  | 0
2,4 | Tower Anticlimbing Barriers |  | per tower | 5 |  | 0
2,5 | Tower Aerial Number plates |  | per tower | 5 |  | 0
2,6 | Tower numbers and circuit identification signs |  | per tower | 5 |  | 0
Sub-Total, Earthing Materials & Tower accessories (Item 2.1-2.6) | [5 empty] | 0
3 | CONDUCTORS, INCLUDING ALL JOINTS, JUMPER LOOPS, SPACERS, SPACERS, SPACER DAMPERS AND VIBRATION DAMPERS AS REQUIRED
| Conductors, 6 phases x Triple ACSR "Condor" |  |  |  |  | 0
Note: Addition for jumpers, sags, splicing etc. to be included in the price per km line length.
3.1 | Conductors, 6 phases x Triple ACSR "Condor" |  | route km | 3
Note: Addition for jumpers, sags, splicing etc. to be included in the price per km line length
3.2 | Spare Conductor ACSR "condor" drum of 3km each to be handed over to KETRACO(O&M) |  | steel drum | 4
3.3 | Earthwires, 2 x 48 core OPGW - double-armoured, including fittings |  | route km | 2.5
Note: Addition for jumpers, sags, splicing etc. to be included in the price per route km line length.
3.4 | Spare Earthwires,48 core OPGW - double-armoured drum of 3.5km each to be handed over to KETRACO(O&M) |  | steel drum | 2
Sub-Total, Conductors & Earthwires (Item 3.1 - 3.2) | [5 empty] | 0
4 | COMPOSITE INSULATOR SETS AND EARTH CONDUCTOR ATTACHMENTS, COMPLETE WITH ALL FITTINGS BETWEEN TOWER AND CONDUCTORS
4.1 | 400 kV insulator string assemblies, complete with all clamps, hardware, fittings etc. for single conductor type ACSR-Condor
4.1.1 | Double Suspension insulator strings |  | per set of 6 | 4 |  | 0
4.1.4 | Double tension insulator strings |  | per set of 6 | 4 |  | 0
4.1.5 | Tripple "jumper" insulator strings |  | per set of 6 | 4 |  | 0
4.2 | Fittings for conductor type ACSR-Condor |  |  |  |  | 0
4.2.1 | Tension joints |  | each | 1 |  | 0
4.2.2 | Repair sleeves |  | each | 1 |  | 0
4.2.3 | Vibration dampers (Stockbridge) |  | each | 1 |  | 0
4.2.3 | Armor Rods |  | each | 1 |  | 0
4.2.4 | Counterweights for suspension strings |  |  |  |  | 0
| a) 40 kg |  | each | 1 |  | 0
| b) 80 kg |  | each | 1 |  | 0
4.2.5 | Other accessories |  | lot | 1 |  | 0
4.3 | Fittings for Optical Ground Wire (OPGW) |  |  |  |  | 0
4.3.1 | Repair sleeves |  | each | 1 |  | 0
4.3.2 | Vibration dampers (Stockbridge) |  | each | 1 |  | 0
4.3.2 | Armor Rods |  | each | 1 |  | 0
4.3.3 | Complete suspension assemblies, including armour rods, electrical connection to tower body |  | each | 1 |  | 0
4.3.5 | other accessories |  | lot | 1 |  | 0
4.3.6 | OPGW Joint Box |  | each | 1 |  | 0
4.3.7 | Aircraft Warning Markers |  | each | 1 |  | 0
4.3.8 | Obstruction Lights |  | each | 1 |  | 0
Sub-Total, Insulators and Fittings (Item 4.1 - 4.3) | [5 empty] | 0
5 | ERECTION AND O&M TOOLS
5.1 | Earth Resistance Testing Unit (Meggar Type) |  | each | 1 |  | 0
5.2 | Torgue Wrench ( 60-120Nm) |  | each | 1 |  | 0
5.3 | Torgue Wrench ( 140-310Nm) |  | each | 1 |  | 0
5.4 | Complete motor Operated Hydraulic Press,Power Unit & Dies Kit for ACSR 'Condor' Conductor, Compression Fittings & sleeves |  | each | 1 |  | 0
5.5 | Tirfor Type Steel Wire Rope Puller (3.5T) |  | each | 1 |  | 0
5.6 | Tirfor Steel Wire Rope (7.0T) |  | each | 1 |  | 0
5.7 | Steel Wire Rope (14mm x 50m length pieces) |  | each | 1 |  | 0
5.8 | Wire Clips (14mm Crosby Type) |  | each | 1 |  | 0
5.9 | Wire Connectors (14mm Rotating Swivel Type) |  | each | 1 |  | 0
5.1 | Stringing Stocking/Tension Type Grips for ACSR 'Condor' Conductor |  | each | 1 |  | 0
5.11 | Stringing Stocking/Tension Type Grips for OPGW |  | each | 1 |  | 0
5.12 | Come-Along Clamps for ACSR Condor' Conductor |  | each | 1 |  | 0
5.13 | Come-Along Clamps for OPGW |  | each | 1 |  | 0
5.14 | Motorized Inspection conductor cars for two bundled transmission lines |  | each | 1
5.15 | Motorized Inspection conductor cars for three bundled transmission lines |  | each | 1
5.16 | Insulator Cradles with fittings for change of 400kV insulators strings for the transmission line |  | each | 1
5.17 | 10 tonne portable winch |  | each | 1
NOTE: All erection and O&M tools in item 5 to be handed over to KETRACO(O&M)
Sub- total for item 5.0 - Erection and O & M tools | [5 empty] | 0
6 | ANY OTHER WORKS AND EQUIPMENT REQUIRED TO COMPLY WITH THE REQUIREMENTS OR SAFE OPERATION OF THE FACILITIES
Sub- total for item 6.0 - Any other Works and Equipment required | [5 empty] | 0
Sub Total Schedule No. 1.0: (to Grand Summary Schedule)
Name of Bidder
Signature of Bidder

## Schedule 2 Supply Local
Price Schedules
Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
Schedule No. 2.0: Restoration of damaged towers 925-929 400 kV LS Transmission Line
NOTE: Bidders are free to quote the prices in this Schedule for any of the items of Schedule No. 1 that Bidders propose to supply from Kenya and no items should be double priced
ITEM NO | DESCRIPTION | COUNTRY OF ORIGIN | UNIT | Qty. | EXW Unit Price | EXW Total Price
|  |  |  | (1) | (2) | (1) x (2)
NOT APPLICABLE
Sub Total Schedule 2.0: Transmission Line (to Summary Schedule No. 2)
Name of Bidder
Signature of Bidder

## Schedule 3 Design Services
Price Schedule
Schedule No. 3: Design Services - Restoration of Damaged towers 925-929 400 kV LS Transmission Line
Item | Description | Unit | Qty. | Unit Price | Total Price
|  |  |  | USD | USD
3,1 | DESIGN SERVICES - 400 kV TRANSMISSION LINES COMPLETE
3.1.1 | Tower Designs For All Tower Types as per requirement (NSK, LAK, MAK) including all their respective body and leg extensions as specified | LS | 1
3.1.2 | Foundation Design For all type of soils as per requirement (Type C1, C2, C3, C4, C4W, C5, C5W and C6) for all Tower Type including all their respective body and leg extension variants as specified. | LS | 1
3.1.3 | Detailed Line Design incorporating the findings of the Line Route Centre Alignment Survey; the Line Profile Survey; and Soils Investigations, to design the line and prepare: a) a Line Route Centre Alignment; b) a Line Plan and Profile as specified; and c) a Line Schedule as specified that includes the assignment of foundation types for each scheduled tower/location. | LS | 1
SUB-TOTAL FOR ITEM 3.1 DESIGN SERVICES - 400kV TRANSMISSION LINES COMPLETE
TOTAL DESIGN SERVICES (to Schedule No. 5: Grand Summary)
Name of Bidder
Signature of Bidder

## Schedule 4 Installations
Price Schedule
Schedule No. 4 : Installation and Other Services
Schedule No. 4.0: Restoration of damaged towers 925-929 400 kV LS Transmission Line
Item | Description | Unit | Qty. | Unit Price | Total Price
|  |  |  | KES | KES
1 | SURVEY WORKS & SOIL INVESTIGATION
1.1 | Complete profile survey and setting out of the transmision line route including preparation of profiles and drawings, peegging of tower positions, preparation of diagonal profiles and probe testing at each tower. | route km | 2.5
1.2 | Sub-soil investigations at support locations by means of in-situ penetrometer, vane test or bearing test to determine class of foundation to be installed | per tower | 2.5
Sub-total, Design and Survey, item 1.1 - 1.2
2 | BUSH CLEARING AND ACCESS ROADS
2,1 | Complete clearing of trees, bush and anthills as per Specification, along the transmission line route | route km | 2.5
2,2 | Establishment of required vehicle access track and maintenance road along the cleared line route | route km | 2.5
Sub-total, Bush Clearing and Access Road, item 2.1 - 2.2
3 | FOUNDATION WORKS
Complete foundation (including stub, cleats and setting) Including installation of basic tower earthing
3.1 | Complete foundation works for Type NSK towers
3.1.1 | Concrete pad and chimney for soil class C1 | per tower | 1
3.1.2 | Concrete pad and chimney for soil class C2 | per tower | 1
3.1.3 | Concrete pad and chimney for soil class C3 | per tower | 1
3.1.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.1.5 | Concrete pad and chimney for soil class C4W | per tower | 1
3.1.6 | Concrete pad and chimney for soil class C5 | per tower | 1
3.1.7 | Concrete pad and chimney for soil class C5W | per tower | 1
3.2 | Complete foundation works for Type LAK towers
3.2.1 | Concrete pad and chimney for soil class C1 | per tower | 0
3.2.2 | Concrete pad and chimney for soil class C2 | per tower | 1
3.2.3 | Concrete pad and chimney for soil class C3 | per tower | 2
3.2.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.2.5 | Concrete pad and chimney for soil class C4W | per tower | 1
3.2.6 | Concrete pad and chimney for soil class C5 | per tower | 1
3.2.7 | Concrete pad and chimney for soil class C5W | per tower | 1
3.3 | Complete foundation works for Type MAK towers
3.3.1 | Concrete pad and chimney for soil class C1 | per tower | 0
3.32 | Concrete pad and chimney for soil class C2 | per tower | 1
3.3.3 | Concrete pad and chimney for soil class C3 | per tower | 1
3.3.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.3.5 | Concrete pad and chimney for soil class C4W | per tower | 1
3.3 | MISCELLANEOUS PRICES FOR FOUNDATION WORK: Special foundation works including pile caps, beams and modification to normal foundation to adapt specified foundation classes to cater for particular soil conditions
3.3.1 | Additional concrete including cost of formwork | cubic meter | 1
3.3.2 | Additional excavation including reinstatement | cubic meter | 1
3.3.3 | Additional steel reinfocing bars including supply, bending and placing | tonne | 1
3.3.4 | Solid rock excavation excluding Class 1 foundations (including reinstatement) | cubic meter | 1
3.3.5 | Imported backfill | cubic meter | 1
3.3.6 | Rip-rap stone work, 0.5m deep over tower base to protect against erosion | square meter | 1
3.3.7 | 2m x 1m x 1m rock filled gabion installed to protect foundations against erosion | cubic meter | 1
3.4 | Foundation type tests to ultimate or destruction for NSK type tower, including mobilisation and erection of all test equipment and installation of the standard footing
3.4.1 | Individual rock anchor | per anchor | 1
3.4.2 | Class 2 type foundation | per footing | 1
3.4.3 | Class 3 type foundation | per footing | 1
Sub-total, Foundation Works, item 3.0 - 3.4
4 | TOWER ERECTION
Complete erection works in accordance with Specifications, handling, storage at site and distribution to individual tower sites
4.1. | Type NSK including body and leg extensions | per tower | 4
4.2 | Type LAK including body and leg extensions | per tower | 1
4.3 | Type MAK including body and leg extensions | per tower | 1
Sub-total, Tower Erection Works, item 4.1 - 4.5
5 | TOWER TYPE TESTS: TO DESTRUCTION (TYPE 'NSK') & ULTIMATE LOADING ( MAK, LAK )
4.5.1 | Type NSK with 6m body extension and 4m leg extensions. Tower type test to ultimate loading including supply, erection, dismantling and allowance for re-use on contract together with provision for extra new bolts | each | 1
4.5.2 | Type LAK standard height tower | each | 1
4.5.3 | Type MAK standard height tower | each | 1
NOTE: Tower type test to destruction will not be required where proof exists that the towers have been type-tested and are already successfully in operation. Where a new tower design will be used, type-test costs will be paid for at the unit prices stated. The Costs in Item 4.4 will not be added to the Bid price (unless approved by Employer during negotiations) but will be added to the Evaluated Price at Bid evaluation.
4,5 | PRICES FOR MISCELLANEOUS STEEL WORK, PRICES FOR SPECIAL TOWERS, SPECIAL EXTENSIONS AND MODIFICATIONS
4.5.1 | Structural Mild Steel | tonne | 1
4.5.2 | Structural High Tensile Steel | tonne | 1
NOTE: Where special Towers, Special extensions and modifications and any miscellaneous steel works have been approved by the Project Manager, they will be paid for at the steel unit prices stated. The steel price in Item 4.5 will not be added to the Contract price but will be added to the Evaluated Price only.
5 | INSTALLATION OF EARTHING
The prices shall include distribution to individual sites, excavation, installation of rods, coils and counterpoise cable, all necessary connection, backfill and all other works necessary for installation as per specifications and approved drawings
5.1 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner | per tower | 1
5.2 | Installation of additional tower earthing set based on counterpoise and rods | per tower | 1
5.3 | Installation of additional tower earthing based on counterpoise coil | per tower | 1
5.4 | Installation of complete tower earthing based on radial counterpoise
5.4.1 | Laying at 500mm depth | per tower | 1
5.4.2 | Laying at 750mm depth | per tower | 1
5,5 | Installation of continuous or extended counterpoise
5.5.1 | Laying at 500mm depth | m | 1
5.5.2 | Laying at 750mm depth | m | 1
Sub-total, Installation of Earthing, item 5.1 - 5.5
6 | INSTALLATION OF CONDUCTORS AND EARTHWIRES
All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, vibration dampers and transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices.
6.1 | Conductors:
| 6 x triple conductor phases, type ACSR-Condor including ACS Earthwire | route km | 2.5
6.2 | OPGW Earthwire:
| installation of 2 (one on each peak) overrunning optical ground wire (OPGW) from Tower 924 to Tower 932 | route km | 4
6.3 | Jointing box for OPGW /OPGW for use within transmissiion line including fixing, splicing and downleads at Tower 924 and Tower 932 | each | 2
6.4 | Factory inspection and test witnessing of OPGW | per inspection | 1
6.5 | Factory inspection and test witnessing of Phase conductors | per inspection | 1
Sub-total, Installation of Conductors and Earthwires, item 6.1 - 6.5
7 | OTHER MISCELLANEOUS WORKS
7.1 | Painting of towers in red and white bands in accoradnce with IACO regulations | per tower | 1
7.2 | Demolition of the existing foundation from Tower 925 to Tower 929 up to a depth of 2M; including cutting of stub, removal of concrete, cut-away and back filling | per tower | 5
7.3 | Provision of temporary backstays to accommodate temporary termination of conductors on tension tower | per tower | 1
Sub-total, Installation of other miscellaneous works, item 7.1 - 7.3
8 | COMMUNICATION,TRANSPORT AND TESTS
8.1 | Communication(phones & Airtime) as per Employer requirements Cl. 19 | No | 6
8.2 | Factory Acceptance Tests (FAT) as per Employer Requirements Cl. 15 and Cl. 14.3 | lumpsum | 1
8.3 | Vehicles as per Employer requirements Cl. 19 | per vehicle | 2
Sub-total, Engineers Commmunication & Tests, item 9.1 - 9.2
TOTAL SCHEDULE NO. 4 Installation & Other Services (carried to Schedule No. 5 Grand Summary)
Name of Bidder
Signature of Bidder

## Schedule 5 Grand Summary
PRICE SCHEDULES
SCHEDULE NO. 5 GRAND SUMMARY
Schedule No. 5.0:400kV Restoration of damaged towers 925-928 400KV LS Transmission Line
Total Price (1)
Schedule | Description | Foreign Currency Portion (USD) | Local Currency Portion (KSh)
1 | Total Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad | 0
2 | Total Schedule No. 2.0: Plant and Mandatory Spare Parts Supplied from Within the Employer's Country |  | 0
3 | Total Schedule No. 3.0: Design Services | 0 | 0
4 | Total Schedule No. 4.0: Installation and Other Services | 0 | 0
5 | Total Custom Duty
6 | Total VAT (16%)
7 | Total WHT (3%)
GRAND TOTAL (To Bid Form) |  | 0 | 0
Name of Bidder :
Signature of Bidder : _________________________________
1Specify currency in accordance with specifications in Bid Data Sheet under ITB 15.1. Create and use as many columns for Foreign Curreny as there are foreign currencies

## Schedule 6 Manpower and Tools
Price Schedule
Schedule No. 4-1 : Miscellaneous and Dayworks - Installation and Miscellaneous Services
Schedule No. 4.1: Restoration of Damaged towers 925-928 0n 400 kV LS Transmission Line
Item | Description | Unit | Qty. | Unit Price | Total Price
|  |  |  | USD | USD
|  |  | (1) | (2) | (1) x (2)
10 | Miscellaneous and Dayworks (Unit Per Day: 8 hour work day or pro-rata thereof)
10,1 | Rough terrain mobile crane ( ≤ 15T) | per day | 1 |  | 0
10,2 | Boom Crane ( Hiab type) flat bed truck (5-10T) | per day | 1 |  | 0
10,3 | Flat bed Truck (7-10T) | per day | 1 |  | 0
10,4 | 4 x 4 Front-end Loader & Backhoe | per day | 1 |  | 0
10,5 | Excavator/tractor/JCB | per day | 1 |  | 0
10,6 | Foundation gang tools and Plant | per day | 1 |  | 0
10,7 | Tower erection gang and plant | per day | 1 |  | 0
10,8 | Stringing gang and plant | per day | 1 |  | 0
10,9 | Site Manager (expatriate) | per day | 1 |  | 0
10,10 | Supervising Engineer (Expatriate) | per day | 1 |  | 0
10,11 | Supervising Engineer (Local) | per day | 1 |  | 0
10,12 | Project Manager and Above (Head office) | per day | 1 |  | 0
10,13 | Design Engineer (Head office) | per day | 1 |  | 0
10,14 | Draughtmans and ancillary staff (Head office) | per day | 1 |  | 0
10,15 | Plant Vehicle driver (local) | per day | 1 |  | 0
10,16 | Surveyor complete with Total station/GPS and helpers | per day | 1 |  | 0
10,17 | Site supervisor/General Foreman | per day | 1 |  | 0
10,18 | Gang Foreman | per day | 1 |  | 0
10,19 | Technician//skiiled labour | per day | 1 |  | 0
10,20 | General/unskilled labour | per day | 1 |  | 0
Enhanced rates for Overtime/rest day working
10,21 | Percentage increase in hourly rates for rest day working | % | 1
10,22 | Percentage increase in hourly rate for normal overtime | % | 1
Sub-total, Miscellaneous and dayworks, item 10.1 - 10.22 |  |  |  |  | 0

## Schedule 6 (hidden)
Price Schedule
Schedule No. 6: RECOMMENDED SPARE PARTS
Schedule No. 6.0: 132 kV Transmission Line
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
ITEM NO | DESCRIPTION | COUNTRY OF ORIGIN | UNIT | QTY | UNIT PRICE EX FACTORY OR FCA | UNIT PRICE INCREASE DELIVERY DDU SITES | TOTAL UNIT PRICES (SUM OF COLS. 6 AND 7) | TOTAL ITEM PRICES (COL.5 x COL.8)
[5 empty] | CURRENCY | CURRENCY | CURRENCY | CURRENCY
10 | SPARE MATERIALS
Sub-Total, Spares