Appendix 9.  Functional Guarantees

1.	General

This Appendix sets out

(a)	the functional guarantees referred to in GCC Clause 28 (Functional Guarantees)

(b)	the preconditions to the validity of the functional guarantees, either in production and/or consumption, set forth below

(c)	the minimum level of the functional guarantees

(d)	the formula for calculation of liquidated damages for failure to attain the functional guarantees.

2.	Preconditions

The Contractor gives the functional guarantees (specified herein) for the facilities, subject to the following preconditions being fully satisfied:

____________________________________________________________________________________

3.	Functional Guarantees

Subject to compliance with the foregoing preconditions, the Contractor guarantees as follows:

3.1	Production Capacity

_____________________________________________________________________________

and/or

3.2	Raw Materials and Utilities Consumption

____________________________________________________________________________

4.	Failure in Guarantees and Liquidated Damages

4.1	Failure to Attain Guaranteed Production Capacity

If the production capacity of the facilities attained in the guarantee test, pursuant to GCC Sub-Clause 25.2, is less than the guaranteed figure specified in para. 3.1 above, but the actual production capacity attained in the guarantee test is not less than the minimum level specified in para. 4.3 below, and the Contractor elects to pay liquidated damages to the Employer in lieu of making changes, modifications and/or additions to the Facilities, pursuant to GCC Sub-Clause 28.3, then the Contractor shall pay liquidated damages at the rate of ___________________ for every complete one percent (1%) of the deficiency in the production capacity of the Facilities, or at a proportionately reduced rate for any deficiency, or part thereof, of less than a complete one percent (1%).

4.2	Raw Materials and Utilities Consumption in Excess of Guaranteed Level

__________________________________________________________________

If the actual measured figure of specified raw materials and utilities consumed per unit (or their average total cost of consumption) exceeds the guaranteed figure specified in para. 3.2 above (or their specified average total cost of consumption), but the actual consumption attained in the guarantee test, pursuant to GCC Sub-Clause 25.2, is not more than the maximum level specified in para. 4.3 below, and the Contractor elects to pay liquidated damages to the Employer in lieu of making changes, modifications and/or additions to the Facilities pursuant to GCC Sub-Clause 28.3, then the Contractor shall pay liquidated damages at the rate of [amount in the contract currency] for every complete one percent (1%) of the excess consumption of the Facilities, or part thereof, of less than a complete one percent (1%).

4.3	Minimum Levels

Notwithstanding the provisions of this paragraph, if as a result of the guarantee test(s), the following minimum levels of performance guarantees (and consumption guarantees) are not attained by the Contractor, the Contractor shall at its own cost make good any deficiencies until the Facilities reach any of such minimum performance levels, pursuant to GCC Sub-Clause 28.2:

(a)	production capacity of the Facilities attained in the guarantee test:  ninety-five percent (95%) of the guaranteed production capacity (the values offered by the Contractor in its Bid for functional guarantees represents 100%).

and/or

(b)	average total cost of consumption of all the raw materials and utilities of the Facilities:  one hundred and five percent (105%) of the guaranteed figures (the figures offered by the Contractor in its Bid for functional guarantees represents 100%).

4.4	During the Factory Acceptance Test for Transformers

During the Factory Acceptance Test, there shall be a penalty for each full kW of Transformer Losses (No Load Losses, on Load Losses and auxiliary power losses)  and Noise level that exceed the values guaranteed as below:

(a) Transformers Losses

(i)No Load Losses If the no load losses of a transformer exceed the guaranteed value, by more than the margins specified hereunder, a penalty as specified for each full kW in excess of the guaranteed value will be deducted from the Contract Price. The penalty will be 9,000 USD/kW. It is thereby understood that values of 0.5 kW and above will be rounded up to the next full kW

(ii)On Load Losses If the on-load losses( applies to auxiliary power losses as well) of a transformer exceed the value guaranteed, by more than the margins specified hereunder, a penalty as indicated for each full kW in excess of the guaranteed value will be deducted from the Contract Price. The penalty will be 4000 USD/kW. It is thereby understood that values of 0.5 kW and above will be rounded up to the next full kW.

Rejection of the Transformers

The Employer shall have the right to reject any transformer (after Factory Acceptance Test) if the actual values are in excess of the guaranteed values by more than the margins specified hereunder:

(a)No-load losses:  + 2.5%

(b)Load-losses (forced cooling) :+ 2.50%

(c)Total losses: + 2.5%

(e)Temperature rise limit resulting in rated: +0.0 K output.

For all other values, the margins stated in the IEC standards are applicable, unless specified otherwise elsewhere in these specifications. The values for all insulation and test levels shall be obtained from the description of the general technical requirements of these specifications

4.5 Limitation of Liability

Subject to para. 4.3 above, the Contractor’s aggregate liability to pay liquidated damages for failure to attain the functional guarantees shall not exceed ______ percent ( ___ %) of the Contract price.