## C2-Schedule No.2
C2 – Substations Price Schedules
SCHEDULE No.2
Schedule No. 2: Design
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
201 | Civil Works | Lot | 1
202 | Building Works | Lot | 1
203 | Gantry Structure and Steel Support | Lot | 1
204 | Firefighting System for Transformer | Lot | 1
205 | Air Conditioning and Ventilation System | Lot | 1
206 | Earthing System and Lightning Protection | Lot | 1
207 | Outdoor and indoor Lighting | Lot | 1
208 | Insulation Coordination Study | Lot | 1
209 | CT, VT sizing calculation for relay | Lot | 1
210 | Low Voltage AC supply System and DC Power Supply | Lot | 1
211 | Power System Stability for Auto-Reclosing | Lot | 1
212 | Cable and Conductor sizing Calculation | Lot | 1`
213 | Relay Setting | Lot | 1`
214 | SAS Function Design | Lot | 1
215 | Design Review Meeting | Lot | 1
216 | All other design Services required to cover all the Contractor's Obligation under this Contract for the commissioning of the plant. | Lot | 1
Total for Schedule No. 2 (carried forward to Summary, p. IV-C2-30)

## C2-Schedule No.3
C2 – Substations Price Schedules
SCHEDULE NO.3
Schedule No. 3: Supply of Plant (Off-Site)
Item no. | Description | Unit | Quantity | Country of Origin | Rate |  | Amount
[5 empty] | Local | Foreign | Local | Foreign
300 | 220 kV DongoKundu-1 (MSEZ) Substation
301 | 3-phase 220/33 kV, 75 MVA power transformer complete with accessories, Online Monitoring System | No. | 2
302 | 33/0.415 kV 350kkVA auxiliary transformer complete with CTs, 33 kV cables, conductors and fittings | No. | 2
303 | 3-phase 220 kV gas circuit breaker complete with necessary steel support and accessories | No | 8
304 | 3-phase 220 kV disconnector with Earth/Switch complete with steel support and accessories | No | 16
305 | 3-phase 220 kV disconnector without Earth/Switch complete with steel support and accessories | No | 4
306 | 3-phase 220kV Earthing Switchfor main busbar complete with steel support and accessories | No | 2
307 | 1-phase 220 kV current transformer for busbar bay complete with steel support and accessories | No. | 24
308 | 1-phase 220 kV current transformer for line bay complete with steel support and accessories | No | 6
309 | 1-phase 220 kV current transformer for transformer bay complete with steel support and accessories | No | 6
310 | 1-phase 220 kV capacitive voltage transformer for Line and Trf bay complete with steel support and accessories | No. | 18
311 | 1-phase 220 kV capacitive voltage transformer for busbar bay complete with steel support and accessories | No. | 6
312 | 1-phase 198 kV Surge Arrester complete with steel support and accessories | No | 12
313 | Current Transformer for Transformer HV side Neutral including support structure, conductor and clamp | No. | 2
314 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for incoming complete with BCU, energy meter, necessary steel support and accessories | No | 2
315 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for Bus coupler complete with BCU, necessary steel support and accessories | No | 1
316 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for Capacitor Bank with BCU, necessary steel support and accessories | No | 4
317 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for Auxiliary Transformer with BCU, necessary steel support and accessories | No | 2
318 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for outgoing complete with BCU, energy meter, necessary steel support and accessories | No | 10
319 | 1-phase 33 kV Surge arrester for secondary of main Transformer, primary of Aux. Transformer and Capacitor bank complete with steel support and accessories | No | 24
320 | 3-phase 33 kV Breaker Switch Capacitor Bank (9MVAr) complete with steel support and accessories | No | 4
321 | Current Transformer for Transformer LV side Neutral including support structure, conductor and clamp | No | 2
322 | 220 kV transmission line circuits control and protection for diameter No.1 | set | 2
323 | 220 kV transmission line circuits control and protection for diameter No.2 | set | 2
324 | 220/33 kV power transformer No.1 control and protection | set | 1
325 | 220/33 kV power transformer No.2 control and protection | set | 1
326 | Substation Automation System | lot | 1
327 | Energy Meter Panel | set | 1
328 | Digital Disturbance Recorder Panel | Set | 1
329 | 220 kV Line Tele protection /signalling system including all necessary interface equipment relays – OPGW | lot | 1
330
331 | 220 kV Busbar Protection | set | 2
332 | 415/240 V LVAC Power Supply system including Programmable Logic Controller | lot | 1
333 | 110 V DC Batteries, Chargers, and DC Distribution Equipment | lot | 1
334 | 48 V DC Batteries, Chargers, and DC Distribution Equipment | lot | 1
335 | Diesel Generator with control system, Fuel Tank and necessary accessories | lot | 1
336 | Telecommunication System | lot | 1
337 | CCTV System with IP Interface | lot | 1
338 | Transformer Fire Fighting Equipment including water supply system (water tank, motor and engine driven pump) | lot | 1
339 | Fire Alarm System and Monitoring System for Control Building | lot | 1
340 | Furniture and curtains for Control Building and Telecom Collocation Room | lot | 1
341 | Substation Earthing System and Lightning Protection | lot | 1
342 | Marshalling Kiosk | lot | 1
343 | Street Lighting | lot | 1
344 | HVAC System | lot | 1
345 | HV & LV Power Cable & Termination | lot | 1
346 | Multicore Control Cable and Termination, Cable Gland | lot | 1
347 | Fibre Optic Cables and Pig tail,Joint Box | lot | 1
348 | 220kV Busbar Arrangement, Al tube, Clamps, Post Insulators and necessary accessories | lot | 1
349 | 220kV Branch Bus Arrangement Conductor, Clamps, Stringing and necessary Accessories | lot | 1
350 | Structural Steel and Miscellaneous other Materials not covered by the above items | lot | 1
351 | Oil Purifier (4000l/hr) | Set | 1
352 | SF6 Gas Handling Equipment | Set | 1
353 | Relay Testing Equipment | Set | 1
354 | Power Quality Analyser | Set | 1
360 | 220 kV Mariakani Substation (Extension)
361 | 3-phase 220 kV gas circuit breaker complete with necessary steel support and accessories | No | 4
362 | 3-phase 220 kV disconnector with Earth/Switch complete with steel support and accessories | No | 8
363 | 3-phase 220 kV disconnector without Earth/Switch complete with steel support and accessories | No | 2
364 | 1 phase 220 kV current transformer for busbar bay complete with steel support and accessories | No | 12
365 | 1-phase 220 kV current transformer for line bay complete with steel support and accessories | No | 6
366 | 1-phase 220 kV capacitive voltage transformer complete with steel support and accessories | No | 12
367 | 1-phase 198 kV lightning arrester complete with steel support and accessories | No | 6
368 | 220 kV transmission line circuits control and protection for diameter No.4 | set | 2
369 | Necessary modification to integrate new switchgear with existing Substation Automation & Control System including Protection settings and retesting | lot | 1
370 | 220 kV Line Tele protection /signalling system including all necessary interface equipment relays - OPGW | lot | 1
371 | Laptop for 220 kV protection relay programming including all complete software and licences | No. | 2
372 | Telecommunication System necessary for integrating new system with existing system | set | 1
373 | Structural Steel and other Miscellaneous Materials not covered by the above items | lot. | 1
374 | Multicore Control Cable and Termination, Cable Gland | lot | 1
375 | 220kV Branch Bus Arrangement Conductor, Clamps, Stringing and necessary Accessories | lot | 1
380 | NCC and Rabai RCC
381 | SCADA Interface and Configuration/Modification including Protection settings and retesting | lot | 1
Total for Schedule No. 3 (carried forward to Summary, p. IV-C2-30)

## C2-Schedule No.4
C2 – Substations Price Schedules
SCHEDULE NO.4
Schedule No. 4: Construction, Installation and Testing (On-Site)
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
400 | 220 kV DongoKundu-1 (MSEZ) Substation
401 | 3-phase 220/33 kV, 75 MVA power transformer complete with accessories, Online Monitoring System | No | 2
402 | 33/0.415 kV 350kVA auxiliary transformer complete with CTs, 33 kV cables, conductors and fittings | No | 2
403 | 3-phase 220 kV gas circuit breaker complete with necessary steel support and accessories | No | 8
404 | 3-phase 220 kV disconnector with Earth/Switch complete with steel support and accessories | No | 16
405 | 3-phase 220 kV disconnector without Earth/Switch complete with steel support and accessories | No | 4
406 | 3-phase 220kV Earthing Switch for main busbar complete with steel support and accessories | No | 2
407 | 1-phase 220 kV current transformer for busbar bay complete with steel support and accessories | No | 24
408 | 1-phase 220 kV current transformer for line bay complete with steel support and accessories | No | 6
409 | 1-phase 220 kV current transformer for transformer bay complete with steel support and accessories | No | 6
410 | 1-phase 220 kV capacitive voltage transformer for Line and transformer bay complete with steel support and accessories | No | 18
411 | 1-phase 220 kV capacitive voltage transformer for busbar bay complete with steel support and accessories | No | 6
412 | 1-phase 198 kV Surge Arrester complete with steel support and accessories | No | 12
413 | Current Transformer for Transformer HV side Neutral including support structure, conductor and clamp | No | 2
414 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for incoming complete with BCU, energy meter, necessary steel support and accessories | No | 2
415 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for Bus coupler complete with BCU, necessary steel support and accessories | No | 1
416 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for Capacitor Bank with BCU, necessary steel support and accessories | No | 4
417 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for Auxiliary Trf. with BCU, necessary steel support and accessories | No | 2
418 | 3-phase 33 kV Indoor, Gas Insulated Switchgear for outgoing complete with BCU, energy meter, necessary steel support and accessories | No | 10
419 | 1-phase 33 kV Surge arrester for secondary of main transformer , primary of Aux. transformer and Capacitor bank complete with steel support and accessories | No | 24
420 | 3-phase 33 kV Breaker Switch Capacitor Bank (9MVAr) complete with steel support and accessories | No | 4
421 | Current Transformer for Transformer LV side Neutral including support structure, conductor and clamp | No | 2
422 | 220 kV transmission line circuits control and protection for diameter No.1 | set | 2
423 | 220 kV transmission line circuits control and protection for diameter No.2 | set | 2
424 | 220/33 kV power transformer No.1 control and protection | set | 1
425 | 220/33 kV power transformer No.2 control and protection | set | 1
426 | Substation Automation System | lot | 1
427 | Energy Meter Panel | set | 1
428 | Digital Disturbance Recorder Panel | Set | 1
429 | 220 kV Line Tele protection /signalling system including all necessary interface equipment relays – OPGW | lot | 1
430
431 | 220 kV Busbar Protection | set | 2
432 | 415/240 V LVAC Power Supply system including Programmable Logic Controller | lot | 1
433 | 110 V DC Batteries, Chargers, and DC Distribution Equipment | lot | 21
434 | 48 V DC Batteries, Chargers, and DC Distribution Equipment | lot | 21
435 | Diesel Generator with control system, Fuel Tank and necessary accessories | lot | 1
436 | Telecommunication System | lot | 1
437 | CCTV System with IP Interface | Lot | 1
438 | Transformer Fire Fighting Equipment including water supply system (water tank, motor and engine driven pump) | lot | 1
439 | Fire Alarm System and Monitoring System for Control Building | lot | 1
440 | Furniture and curtains for Control Building and Telecom Collocation Room | lot | 1
441 | Substation Earthing System and Lightning Protection | lot | 1
442 | Marshalling Kiosk | lot | 1
443 | Street Lighting | lot | 1
444 | HVAC System | lot | 1
445 | HV & LV Power Cable & Termination | lot | 1
446 | Multicore Control Cable and Termination, Cable Gland | lot | 1
447 | Fibre Optic Cables and Pig tail, Joint Box | lot | 1
448 | 220kV Busbar Arrangement, Al tube, Clamps, Post Insulators and necessary accessories | lot | 1
449 | 220kV Branch Bus Arrangement Conductor, Clamps, Stringing and necessary Accessories | lot | 1
450 | Structural Steel and Miscellaneous other Materials not covered by the above items | lot | 1
451 | Transport for project staff of Employer/Engineer. Provide four wheel driven off-road vehicle | No. | 10
452 | Vehicles running and maintenance cost | Month | 20
453
454 | Site Storage, Housing and Facilities for the Contractor use | lot | 1
455 | Cable Trenches incl. cover plates and cable tray | lot | 1
456 | Transformer foundation incl. transfer rail, oil catching pit and fire wall | No | 2
457 | Oil separator and oil disposal system | No | 1
458 | Portable Extinguisher | lot | 1
459 | Boundary Wall, Security Fence and Gate | lot | 1
460 | Substation Bulk Earthworks (Preparation of ground formation of substation including scraping, grading and drainage) | lot | 1
461 | Tree Cutting, removing obstacles, management of cut trees, removed obstacles including disposal and storing. | lot | 1
462 | Temporary Approach road (1.5km) | lot | 1
463 | Finishing work (including paving, placing gravel layer of the substation ground formation, water reticulation etc.) | lot | 1
464 | Technical installation inside and on the building incl. earthing and lightning protection, air-conditioning, heating, lighting, small power and telephone sockets, toilet, kitchen, locking system, etc. | lot | 1
465 | Water tank (min.120,000l) for Transfomer. Fire Fighting System | lot | 1
466 | Piping system (water, drainage, etc.) to and inside the building | lot | 1
467 | Water Supply system including bore hole and treatment plant | lot | 1
468 | Sewage system including storm rain water drainage of the substation | lot | 1
469 | Roads to and inside the substation area, parking lot including maintenance during construction period. | lot | 1
470 | Preparation of the construction area including compaction, plate test and all other necessary tests. | lot | 1
471 | Green Plantation | lot | 1
472 | Foundations for three phase 220 kV circuit breakers | lot | 1
473 | Foundations for three phase 220 kV disconnector with/without earthing switch | lot | 1
474 | Foundations for single phase 220 kV current transformers | lot | 1
475 | Foundations for single / three phase 220 kV capacitive voltage transformers | lot | 1
476 | Foundations for single phase 220 kV lightning arrestors | lot | 1
477 | Foundations for single phase 220 kV post insulators | lot | 1
478-1 | Foundations for 220 kV gantries | lot | 1
478-2 | Foundations for 33/0.415kV Auxiliary Transformer and associated equipment | lot | 1
478-3 | Foundations for 33kV Breaker Switch Capacitor Bank and associated equipment | lot | 1
478-4 | Foundations for all other outdoor small equipment. | lot | 1
478-5 | Supply and Installation of 9 meter flag pole | No | 3
479 | Construction of the Buildings including Control Building 33kV Indoor GIS, Guard House and Telecom Collocation room, Generator House, and all other necessary Buildings. | lot | 1
480 | 220 kV Mariakani Substation (Extension)
481 | 3-phase 220 kV gas circuit breaker complete with necessary steel support and accessories | No | 4
482 | 3-phase 220 kV disconnector with Earth/Switch complete with steel support and accessories | No | 8
483 | 3-phase 220 kV disconnector without Earth/Switch complete with steel support and accessories | No | 2
484 | 1-phase 220 kV current transformer for busbar bay complete with steel support and accessories | No | 12
485 | 1-phase 220 kV current transformer for line bay complete with steel support and accessories | No | 6
486 | 1-phase 220 kV capacitive voltage transformer complete with steel support and accessories | No | 12
487 | 1-phase 198 kV lightning arrester complete with steel support and accessories | No | 6
488 | 220 kV transmission line circuits control and protection for diameter No.4 | set | 2
489 | Necessary modification to integrate new switchgear with existing Substation Automation & Control System including Protection settings and retesting | lot | 1
490 | 220 kV Line Tele protection /signalling system including all necessary interface equipment relays - OPGW | lot | 1
491
492 | Telecommunication System necessary for integrating new system with existing system | set | 1
493 | Structural Steel and other Miscellaneous Materials not covered by the above items | lot | 1
494 | Multicore Control Cable and Termination, Cable Gland | lot | 1
495 | 220kV Branch Bus Arrangement Conductor, Clamps, Stringing and necessary Accessories | lot | 1
496 | Civil works requirement including temporary facilities, foundations, cable trench, cable trays/supports, drainage, all necessary tests, etc | lot | 1
497 | NCC and Rabai RCC
498 | SCADA Interface and Configuration/Modification including Protection settings and retesting | lot | 1
Total for Schedule No. 4 (carried forward to Summary, p. IV-C2-30)

## C2-Schedule No.5
C2 – Substations Price Schedules
SCHEDULE NO.5
Schedule No. 5: Training
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
501 | Substation automation system at manufacturer’s factory | lot | 1
502 | Telecommunication system at manufacturer’s factory | lot | 1
503 | Switchgear at manufacturer’s factory (both 220kV & 33kV) | lot | 1
504 | Power Transformer at manufacturer’s factory | lot | 1
505 | Protection relays at manufacturer’s works | lot | 1
506 | Power Quality Analyser at manufacturer’s factory | lot | 1
507 | Capacitor Banks at manufacturer’s factory | lot | 1
508 | Training at site for ten (10) members of Employer’s staff as specified | lot | 1
509 | AutoCAD, PSCAD and ETAP Training for fifteen (15) member’s staff of Employer | lot | 1
Total for Schedule No. 5 (carried forward to Summary, p. IV-C2-30)

## C2-Schedule No.6
C2 – Substations Price Schedules
SCHEDULE NO.6
Schedule No. 6: Mandatory Spare Parts
Item no. | Description | Unit | Quantity | Country of Origin | Rate |  | Amount
[5 empty] | Local | Foreign | Local | Foreign
601 | 220kV Circuit Breaker(Complete) | No. | 1
602 | 220kV Disconnecting Switch /Earthing Switch (Complete) | No. | 1
603 | 33kV Gas Insulated Switchgear Outgoing Panel(Complete) | No. | 1
604 | 33kV GIS Incoming Panel (Complete) | No. | 1
605 | 220kV Circuit Breaker Trip coil, Closing coil each, | each | 5
606 | 33kV Circuit BreakerB Trip coil, Closing coil each, | each | 5
607 | 220kV Circuit Breaker spring charge motor each | each | 3
608 | 220kV Disconnector Switch operation motor each | each | 3
609 | 198kV and 33kV Surge Arrester (single phase complete) each | each | 3
610 | Portable Earthing device | No | 2
611-1 | Bay Control Unit | No. | 2
611-2 | Line Differential Relay | No. | 2
611-3 | Line Distance Relay | No. | 2
611-4 | Transformer Differential Relay | No. | 2
611-5 | 50F/ST Relay | No. | 2
611-6 | Auto reclose Relay | No. | 2
611-7 | RMU Overcurrent Relay | No. | 2
611-8 | Capacitor Protection Relay | No. | 2
611-9 | APFR Controller | No. | 2
612 | Capacitor unit | No. | 2
613 | 220kV Current Transformer each rating | each | 1
614 | 220kV Capacitor Voltage Transformer each rating | each | 1
615 | Buchholz | each | 2
616 | Primary side bushing | each | 2
617 | Secondary Side Bushing | each | 2
618 | Set of Contact for tap changer | each | 2
619 | Silica gel for Transformer | each | 2
620 | Spare module for optical Fibre Terminal Equipment, | each | 1
621 | Ethernet Switch | each | 1
621 | Operator workstation | No. | 1
622 | SAS/SCADA module | each | 1
623 | Auxiliary relay (each kind) | No. | 1
624 | Configuration license for SACS | No. | 1
Total for Schedule No. 6 (carried forward to Summary, p IV-C2-30)

## C2-Schedule No.7
C2 – Substations Price Schedules
SCHEDULE NO.7
Schedule No. 7: Recommended Spare Parts
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
701
702
Total for Schedule No. 7 (carried forward to Summary, p. IV-C2-30)

## SS_Daywork Rates
Substations Day work Rates
Schedule of Day work Rates: 1. Labour
Item No. | Description | Unit | Nominal Quantity | Rate |  | Extended Amount
|  |  |  | Local | Foreign | Local | Foreign
D101 | Commissioning / Training Engineer | M/M | 4
D102 | Transformer Supervisor | M/M | 2
D103 | 33kV GIS Supervisor | M/M | 2
D104 | Prot.& Ctrl Supervisor | M/M | 3
D105 | Telecom Supervisor | M/M | 2
D106 | Skilled labour | M/M | 6
D107 | Electrician | M/M | 6
D108 | Welder | M/M | 1
D109 | Mechanic | M/M | 1
D110 | Plumber | M/M | 1
Subtotal
Allow percent1 of Subtotal for Contractor’s profit, overheads, etc.
Total Daywork for Labour(carried forward to Daywork summary, p. IV-C2-28)
Substations Day work Rates
Schedule of Daywork Rates: 2. Materials
Item No. | Description | Unit | Nominal Quantity | Rate |  | Extended Amount
|  |  |  | Local | Foreign | Local | Foreign
D201 | R-bar | Kg | 1000
D202 | Ready mix concrete | m3 | 10
D203 | Import soil | m3 | 100
D204 | Form work | m2 | 100
D205 | Excavation | m3 | 100
D206 | Rock blast | m3 | 10
D207 | Concrete Pile 200φx20m | no. | 20
D208 | Sand | m3 | 5
The Contractor may add required material
Subtotal
Allow percent1 of Subtotal for Contractor’s profit, overheads, etc.
Total Daywork for Materials (carried forward to Daywork summary, p. IV-C2-28)
Substations Day work Rates
Schedule of Daywork Rates: 3. Contractor’s Equipment
Item No. | Description | Unit | Nominal Quantity | Rate |  | Extended Amount
|  |  |  | Local | Foreign | Local | Foreign
D301 | Vibrator | hour | 10
D302 | Submergible pump | hour | 10
D303 | Excavator | day | 10
D304 | Mobile Crane | day | 10
D305 | Lorry | day | 10
The Contractor may add required equipment
Subtotal
Allow percent1 of Subtotal for Contractor’s profit, overheads, etc.
Total Daywork for Contractor’s Equipment (carried forward to Daywork summary, p. IV-C2-28)
Substations Day work Rates
Daywork Summary
Item No. | Description |  |  |  |  | Amount
[6 empty] | Local | Foreign
1 | Total for Daywork: Labour
2 | Total for Daywork: Materials
3 | Total for Daywork: Contractor’s Equipment
Total for Daywork (Provisional Sum) (carried forward to Grand Summary, p. IV-C2-30)

## SS_Provisional Sum
Schedule of Specified Provisional Sums
Item No. | Description | Amount
|  | Local KES) | Foreign (JPY) | Foreign (USD)
1 | SCADA Interface |  |  | 500000
2 | Price adjustment | 100000000 | 50000000 | 500000
3 | Tree growing initiative | 5000000
4 | Commissioning Ceremony | 10000000
Total (carried forward to Grand Summary (C), p. IV-C2-30 ) |  | 115000000 | 50000000 | 1000000

## SS_Summary
Summary: Substations
Description |  | Page | Amount
|  |  | Local (Ksh) | Foreign (JPY) | Foreign (USD)
Schedule No. 1.2: General Items |  | IV-C0-5
Schedule No. 2: Design |  | IV-C2-2
Schedule No. 3: Supply of Plant (Off-Site) |  | IV-C2-8
Schedule No. 4: Construction, Installation and Testing (On-Site) |  | IV-C2-15
Schedule No. 5: Training |  | IV-C2-17
Schedule No. 6: Mandatory Spare Parts |  | IV-C2-19
—etc.—
(A) | Total of Schedules
(B) | Total for Daywork (Provisional Sum) | IV-C2-28
(C) | Specified Provisional Sums | IV-C2-29
Schedule No. 7: Recommended Spare Parts |  | IV-C2-21