## C1-TL.Schedule No.2
C1 - Transmission Line Price Schedules
Schedule No. 2: Design
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
201 | Foundation Design for All Type of Soils (Types 1, 2, 3, 3A, 4, 4A, 5 & 6) for all Tower Types including all their respective body and Leg Extension variants as specified. | Lump Sum | 1
202 | Tower Design for All Tower Types (220S, 220T10, 220T30, 220T60, 220T90, 220Ttrm) including all their respective Body and Leg Extensions as specified. | Lump Sum | 1
203 | Detailed Line Design incorporating the findings of the Line Route Centre Alignment Survey, the Line Profile Survey and Soils Investigations, to design the line and prepare a) a Line Route Centre Alignment, b) a Line Plan and Profile as specified c) a Line Schedule as specified that includes the assignment of foundation types for each scheduled tower/location. | Lump Sum | 1
Total for Schedule No. 2 (carried forward to Lump Summary, p. IV-C1-31)

## C1-TL.Schedule No.3
C1 - Transmission Line Price Schedules
SCHEDULE NO.3: Supply of Plant (Off-Site)
Item no. | Description | Unit | Quantity | Country of Origin | Rate |  | Amount
[5 empty] | Local | Foreign | Local | Foreign
300 | TOWER GROUNDING Note: Tower Earthing / grounding as per technical specifications including counterpoise cables, earthing rods, compression jointing; connection to tower etc
300-1 | Tower earthing, Type A | per tower | 151
300-2 | Tower earthing, Type B | per tower | 15
300-3 | Tower earthing, Type C | per tower | 10
300-4 | Tower earthing, Type D | per tower | 5
220KV TOWERS COMPLETE WITH ALL BOLTS AND NUTS ALONG WITH REQUISITE FITTINGS. Notes: 1. Quoted prices for items 301-3 to 301-6, 302-3 to 302-6, 303-3 to 304-6, 304-3 to 304-6 and 305-3 to 305-6 shall relate only the applicable 3m-, 6m-, 9m- and 12m-body extensions for the respective towers and not including complete basic tower body. 2. Quoted prices for items 301-7 to 301-13, 302-7 to 302-13, 303-7 to 304-13, 304-7 to 304-13, 305-7 to 305-13 and 306-2 to 306-8 shall relate only the respective 1m-, 2m-, 3m-, 4m-, 5m- and 6m-leg extensions for the subject towers.
301 | For Tower Type 220S
301-1 | Type 220S Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 115
301-2 | Type 220S Tower; Complete basic tower body-3.0 m | tower | 1
301-3 | Type 220S Tower; +3.0 m body extension | tower | 25
301-4 | Type 220S Tower; +6.0 m body extension | tower | 20
301-5 | Type 220S Tower; +9.0 m body extension | tower | 15
301-6 | Type 220S Tower; +12.0 m body extension | tower | 10
301-7 | Type 220S Tower; +0 m leg extension | each | 464
301-8 | Type 220S Tower; +1.0 m leg extension | each | 70
301-9 | Type 220S Tower; +2.0 m leg extension | each | 70
301-10 | Type 220S Tower; +3.0 m leg extension | each | 45
301-11 | Type 220S Tower; +4.0 m leg extension | each | 20
301-12 | Type 220S Tower; +5.0 m leg extension | each | 15
301-13 | Type 220S Tower; +6.0 m leg extension | each | 10
301-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 464
302
For Tower Type 220T10
302-1 | Type 220T10 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 10
302-2 | Type 220T10 Tower; Complete basic tower body-3.0 m | tower | 1
302-3 | Type 220T10 Tower; +3.0 m body extension | tower | 2
302-4 | Type 220T10 Tower; +6.0 m body extension | tower | 2
302-5 | Type 220T10 Tower; +9.0 m body extension | tower | 2
302-6 | Type 220T10 Tower; +12.0 m body extension | tower | 2
302-7 | Type 220T10 Tower; +0 m leg extension | each | 44
302-8 | Type 220T10 Tower; +1 m Leg extension | each | 7
302-9 | Type 220T10 Tower; +2 m Leg extension | each | 7
302-10 | Type 220T10 Tower; +3 m Leg extension | each | 4
302-11 | Type 220T10 Tower; +4 m Leg extension | each | 2
302-12 | Type 220T10 Tower; +5 m Leg extension | each | 2
302-13 | Type 220T10 Tower; +6 m Leg extension | each | 2
302-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 44
303 | For Tower Type 220T30
303-1 | Type 220T30 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 10
303-2 | Type 220T30 Tower; Complete basic tower body-3.0 m | tower | 1
303-3 | Type 220T30 Tower; +3.0 m body extension | tower | 2
303-4 | Type 220T30 Tower; +6.0 m body extension | tower | 2
303-5 | Type 220T30 Tower; +9.0 m body extension | tower | 1
303-6 | Type 220T30 Tower; +12.0 m body extension | tower | 1
303-7 | Type 220T30 Tower; +0 m leg extension | each | 44
303-8 | Type 220T30 Tower; +1 m leg extension | each | 7
303-9 | Type 220T30 Tower; +2 m leg extension | each | 7
303-10 | Type 220T30 Tower; +3 m leg extension | each | 4
303-11 | Type 220T30 Tower; +4 m leg extension | each | 2
303-12 | Type 220T30 Tower; +5 m leg extension | each | 2
303-13 | Type 220T30 Tower; +6 m leg extension | each | 2
303-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 44
304 | For Tower Type 220T60
304-1 | Type 220T60 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 6
304-2 | Type 220T60 Tower; Complete basic tower body-3.0 m | tower | 1
304-3 | Type 220T60 Tower; +3.0 m body extension | tower | 1
304-4 | Type 220T60 Tower; +6.0 m body extension | tower | 1
304-5 | Type 220T60 Tower; +9.0 m body extension | tower | 1
304-6 | Type 220T60 Tower; +12.0 m body extension | tower | 1
304-7 | Type 220T60 Tower; +0 m leg extension | each | 28
304-8 | Type 220T60 Tower; +1 m leg extension | each | 4
304-9 | Type 220T60 Tower; +2 m leg extension | each | 4
304-10 | Type 220T60 Tower; +3 m leg extension | each | 3
304-11 | Type 220T60 Tower; +4 m leg extension | each | 1
304-12 | Type 220T60 Tower; +5 m leg extension | each | 1
304-13 | Type 220T60 Tower; +6 m leg extension | each | 1
304-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 28
305 | For Tower Type 220T90
305-1 | Type 220T90 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 3
305-2 | Type 220T90 Tower; Complete basic tower body-3.0 m | tower | 1
305-3 | Type 220T90 Tower; +3.0 m body extension | tower | 1
305-4 | Type 220T90 Tower; +6.0 m body extension | tower | 1
305-5 | Type 220T90 Tower; +9.0 m body extension | tower | 1
305-6 | Type 220T90 Tower; +12.0 m body extension | tower | 1
305-7 | Type 220T90 Tower; +0 m leg extension | each | 16
305-8 | Type 220T90 Tower; +1 m leg extension | each | 2
305-9 | Type 220T90 Tower; +2 m leg extension | each | 2
305-10 | Type 220T90 Tower; +3 m leg extension | each | 2
305-11 | Type 220T90 Tower; +4 m leg extension | each | 1
305-12 | Type 220T90 Tower; +5 m leg extension | each | 1
305-13 | Type 220T90 Tower; +6 m leg extension | each | 1
305-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 16
306 | For Tower Type 220Ttrm
306-1 | Type 220Ttrm Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 2
306-2 | Type 220Ttrm Tower; +0 m leg extension | each | 8
306-3 | Type 220Ttrm Tower; +1 m leg extension | each | 1
306-4 | Type 220Ttrm Tower; +2 m leg extension | each | 1
306-5 | Type 220Ttrm Tower; +3 m leg extension | each | 1
306-6 | Type 220Ttrm Tower; +4 m leg extension | each | 1
306-7 | Type 220Ttrm Tower; +5 m leg extension | each | 1
306-8 | Type 220Ttrm Tower; +6 m leg extension | each | 1
306-9 | Stubs complete with stub extensions, cleats, nut and bolts | each | 8
307 | Additional Steel Work | ton | 40
308 | ACCESSORIES FOR TOWER
308-1 | Anti-climbing devices | per tower | 151
308-2 | Danger plates | per tower | 151
308-3 | Tower number plates | per tower | 151
308-4 | Line code identification plates | per tower | 151
308-5 | Circuit number plates | per tower | 151
308-6 | Phase sequence plates (1 set for 3-phases) | per tower | 151
308-7 | Aerial plates | per tower | 35
309 | CONDUCTORS, EC, OPGW
309-1 | 6-phases of single LL-ACSR "Canary" equivalent conductor including straight joints, jumper loops, dampers, allowance for sagging et c | route km | 51
309-2 | One overhead Earth Conductor including but not limited to joints as applicable, allowance for sagging, dampers and all related accessories | route km | 51
309-3 | One overhead OPGW including but not limited to dampers, allowances for sagging, splicing as well as slacks allowed for maintenance purposes within the line and at substation ends. | route km | 51
310 | INSULATORS AND FITTINGS
310-1 | Single suspension insulator set for single "Canary" completed with clamps, fittings, clevis, armour rod | set | 660
310-2 | Double suspension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis, armour rod | set | 36
310-3 | Double tension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis | set | 45
310-4 | Light duty tension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis | set | 387
310-5 | Jumper suspension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis, armour rod | set | 39
310-6 | Counterweights 40 kg * 5 nos. for each tower | per tower | 10
311 | OVERHEAD EARTH CONDUCTOR FITTINGS
311-1 | Suspension set for overhead earth conductor completed with clamps, fittings, bonding wire | set | 116
311-2 | Tension set for overhead earth conductor completed with clamps, fittings, both for foreside and backside | set | 70
311-3 | Tension set for earth conductor completed with clamps, fittings, for gantry of slack span | set | 4
312 | OVERHEAD OPGW FITTINGS
312-1 | Suspension set for OPGW completed with clamps, fittings, bonding wire | set | 116
312-2 | Tension set for OPGW completed with clamps, fittings, both for foreside and backside | set | 70
312-3 | Tension set for overhead OPGW completed with clamps, fittings, for gantry of slack span | set | 4
312-4 | Joint box for OPGW including fixing & splicing materials and down lead clamps, extra length of OPGW for down lead | set | 15
313 | Bird diverter system | lot | 1
314 | Tower Obstruction Lighting complete including independent power supply, according to ICAO regulations, or other method, eg inductive, details to be provided. | per tower | 5
315 | Tower Obstruction Lighting complete including independent solar power supply, according to ICAO regulations. | per tower | 10
316 | Aircraft warning spheres complete with accessories - 600mm diameter as specified | each | 170
Total for Schedule No. 3 (carried forward to Summary, p. IV-C1-31)

## C1-TL.Schedule No.4
C1 - Transmission Line Price Schedules
Schedule No. 4: Construction, Installation and Testing (On-Site)
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
FOUNDATION FOR TOWER
401 | For Tower Type 220S
401-1 | Type-1 Foundation (Rock Anchor) | tower | 1
401-2 | Type-2 Foundation (Pad & chimney) | tower | 12
401-3 | Type-3 Foundation (Pad & chimney) | tower | 35
401-4 | Type-3A Foundation (Pad & chimney) | tower | 10
401-5 | Type-4 Foundation (Pad & chimney) | tower | 41
401-6 | Type-4A Foundation (Pad & chimney) | tower | 10
401-7 | Type-5 Foundation (Pad & chimney) | tower | 6
401-8 | Type-6 Foundation (Piling) | tower | 1
402 | For Tower Type 220T10
402-1 | Type-1 Foundation (Rock Anchor) | tower | 1
402-2 | Type-2 Foundation (Pad & chimney) | tower | 1
402-3 | Type-3 Foundation (Pad & chimney) | tower | 2
402-4 | Type-3A Foundation (Pad & chimney) | tower | 1
402-5 | Type-4 Foundation (Pad & chimney) | tower | 3
402-6 | Type-4A Foundation (Pad & chimney) | tower | 1
402-7 | Type-5 Foundation (Pad & chimney) | tower | 1
402-8 | Type-6 Foundation (Piling) | tower | 1
403 | For Tower Type 220T30
403-1 | Type-1 Foundation (Rock Anchor) | tower | 1
403-2 | Type-2 Foundation (Pad & chimney) | tower | 1
403-3 | Type-3 Foundation (Pad & chimney) | tower | 2
403-4 | Type-3A Foundation (Pad & chimney) | tower | 1
403-5 | Type-4 Foundation (Pad & chimney) | tower | 3
403-6 | Type-4A Foundation (Pad & chimney) | tower | 1
403-7 | Type-5 Foundation (Pad & chimney) | tower | 1
403-8 | Type-6 Foundation (Piling) | tower | 1
404 | For Tower Type 220T60
404-1 | Type-1 Foundation (Rock Anchor) | tower | 1
404-2 | Type-2 Foundation (Pad & chimney) | tower | 1
404-3 | Type-3 Foundation (Pad & chimney) | tower | 1
404-4 | Type-3A Foundation (Pad & chimney) | tower | 1
404-5 | Type-4 Foundation (Pad & chimney) | tower | 1
404-6 | Type-4A Foundation (Pad & chimney) | tower | 1
404-7 | Type-5 Foundation (Pad & chimney) | tower | 1
404-8 | Type-6 Foundation (Piling) | tower | 1
405 | For Tower Type 220T90
405-1 | Type-1 Foundation (Rock Anchor) | tower | 1
405-2 | Type-2 Foundation (Pad & chimney) | tower | 1
405-3 | Type-3 Foundation (Pad & chimney) | tower | 1
405-4 | Type-3A Foundation (Pad & chimney) | tower | 1
405-5 | Type-4 Foundation (Pad & chimney) | tower | 1
405-6 | Type-4A Foundation (Pad & chimney) | tower | 1
405-7 | Type-5 Foundation (Pad & chimney) | tower | 1
405-8 | Type-6 Foundation (Piling) | tower | 1
406 | For Tower Type 220Ttrm
406-1 | Type-1 Foundation (Rock Anchor) | tower | 1
406-2 | Type-2 Foundation (Pad & chimney) | tower | 1
406-3 | Type-3 Foundation (Pad & chimney) | tower | 1
406-4 | Type-3A Foundation (Pad & chimney) | tower | 1
406-5 | Type-4 Foundation (Pad & chimney) | tower | 1
406-6 | Type-4A Foundation (Pad & chimney) | tower | 1
406-7 | Type-5 Foundation (Pad & chimney) | tower | 1
406-8 | Type-6 Foundation (Piling) | tower | 1
407 | GROUNDING FOR TOWER
407-1 | Grounding (Type-A) | tower | 151
407-2 | Grounding (Type-B) | tower | 15
407-3 | Grounding (Type-C) | tower | 10
407-4 | Grounding (Type-D) | tower | 5
220KV TOWERS
408 | For Tower Type 220S
408-1 | Type 220S Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 115
408-2 | Type 220S Tower; Complete basic tower body-3.0 m | tower | 1
408-3 | Type 220S Tower; +3.0 m body extension | tower | 25
408-4 | Type 220S Tower; +6.0 m body extension | tower | 20
408-5 | Type 220S Tower; +9.0 m body extension | tower | 15
408-6 | Type 220S Tower; +12.0 m body extension | tower | 10
408-7 | Type 220S Tower; +0 m leg extension | each | 464
408-8 | Type 220S Tower; +1.0 m leg extension | each | 70
408-9 | Type 220S Tower; +2.0 m leg extension | each | 70
408-10 | Type 220S Tower; +3.0 m leg extension | each | 45
408-11 | Type 220S Tower; +4.0 m leg extension | each | 20
408-12 | Type 220S Tower; +5.0 m leg extension | each | 15
408-13 | Type 220S Tower; +6.0 m leg extension | each | 10
408-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 464
409 | For Tower Type 220T10
409-1 | Type 220T10 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 10
409-2 | Type 220T10 Tower; Complete basic tower body-3.0 m | tower | 1
409-3 | Type 220T10 Tower; +3.0 m body extension | tower | 2
409-4 | Type 220T10 Tower; +6.0 m body extension | tower | 2
409-5 | Type 220T10 Tower; +9.0 m body extension | tower | 2
409-6 | Type 220T10 Tower; +12.0 m body extension | tower | 2
409-7 | Type 220T10 Tower; +0 m leg extension | each | 44
409-8 | Type 220T10 Tower; +1 m Leg extension | each | 7
409-9 | Type 220T10 Tower; +2 m Leg extension | each | 7
409-10 | Type 220T10 Tower; +3 m Leg extension | each | 4
409-11 | Type 220T10 Tower; +4 m Leg extension | each | 2
409-12 | Type 220T10 Tower; +5 m Leg extension | each | 2
409-13 | Type 220T10 Tower; +6 m Leg extension | each | 2
409-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 44
410 | For Tower Type 220T30
410-1 | Type 220T30 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 10
410-2 | Type 220T30 Tower; Complete basic tower body-3.0 m | tower | 1
410-3 | Type 220T30 Tower; +3.0 m body extension | tower | 2
410-4 | Type 220T30 Tower; +6.0 m body extension | tower | 2
410-5 | Type 220T30 Tower; +9.0 m body extension | tower | 1
410-6 | Type 220T30 Tower; +12.0 m body extension | tower | 1
410-7 | Type 220T30 Tower; +0 m leg extension | each | 44
410-8 | Type 220T30 Tower; +1 m leg extension | each | 7
410-9 | Type 220T30 Tower; +2 m leg extension | each | 7
410-10 | Type 220T30 Tower; +3 m leg extension | each | 4
410-11 | Type 220T30 Tower; +4 m leg extension | each | 2
410-12 | Type 220T30 Tower; +5 m leg extension | each | 2
410-13 | Type 220T30 Tower; +6 m leg extension | each | 2
410-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 44
411 | For Tower Type 220T60
411-1 | Type 220T60 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 6
411-2 | Type 220T60 Tower; Complete basic tower body-3.0 m | tower | 1
411-3 | Type 220T60 Tower; +3.0 m body extension | tower | 1
411-4 | Type 220T60 Tower; +6.0 m body extension | tower | 1
411-5 | Type 220T60 Tower; +9.0 m body extension | tower | 1
411-6 | Type 220T60 Tower; +12.0 m body extension | tower | 1
411-7 | Type 220T60 Tower; +0 m leg extension | each | 28
411-8 | Type 220T60 Tower; +1 m leg extension | each | 4
411-9 | Type 220T60 Tower; +2 m leg extension | each | 4
411-10 | Type 220T60 Tower; +3 m leg extension | each | 3
411-11 | Type 220T60 Tower; +4 m leg extension | each | 1
411-12 | Type 220T60 Tower; +5 m leg extension | each | 1
411-13 | Type 220T60 Tower; +6 m leg extension | each | 1
411-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 28
412 | For Tower Type 220T90
412-1 | Type 220T90 Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 3
412-2 | Type 220T90 Tower; Complete basic tower body-3.0 m | tower | 1
412-3 | Type 220T90 Tower; +3.0 m body extension | tower | 1
412-4 | Type 220T90 Tower; +6.0 m body extension | tower | 1
412-5 | Type 220T90 Tower; +9.0 m body extension | tower | 1
412-6 | Type 220T90 Tower; +12.0 m body extension | tower | 1
412-7 | Type 220T90 Tower; +0 m leg extension | each | 16
412-8 | Type 220T90 Tower; +1 m leg extension | each | 2
412-9 | Type 220T90 Tower; +2 m leg extension | each | 2
412-10 | Type 220T90 Tower; +3 m leg extension | each | 2
412-11 | Type 220T90 Tower; +4 m leg extension | each | 1
412-12 | Type 220T90 Tower; +5 m leg extension | each | 1
412-13 | Type 220T90 Tower; +6 m leg extension | each | 1
412-14 | Stubs complete with stub extensions, cleats, nut and bolts | each | 16
413 | For Tower Type 220Ttrm
413-1 | Type 220Ttrm Tower; Complete basic tower body (Inclusive of ±0 Leg) | tower | 2
413-2 | Type 220Ttrm Tower; +0 m leg extension | each | 8
413-3 | Type 220Ttrm Tower; +1 m leg extension | each | 1
413-4 | Type 220Ttrm Tower; +2 m leg extension | each | 1
413-5 | Type 220Ttrm Tower; +3 m leg extension | each | 1
413-6 | Type 220Ttrm Tower; +4 m leg extension | each | 1
413-7 | Type 220Ttrm Tower; +5 m leg extension | each | 1
413-8 | Type 220Ttrm Tower; +6 m leg extension | each | 1
413-9 | Stubs complete with stub extensions, cleats, nut and bolts | each | 8
414 | Additional Steel Work | ton | 40
415 | ACCESSORIES FOR TOWER
415-1 | Anti-climbing devices | per tower | 151
415-2 | Danger plates | per tower | 151
415-3 | Tower number plates | per tower | 151
415-4 | Line code identification plates | per tower | 151
415-5 | Circuit number plates | per tower | 151
415-6 | Phase sequence plates (1 set for 3-phases) | per tower | 151
415-7 | Aerial plates | per tower | 35
416 | CONDUCTORS, EW, OPGW
416-1 | 6-phases of single LL-ACSR "Canary" equivalent conductor including straight joints, jumper loops, dampers, allowance for sagging etc | route km | 51
416-2 | One overhead Earth Conductor including but not limited to joints as applicable, allowance for sagging, dampers and all related accessories | route km | 51
416-3 | One overhead OPGW including but not limited to dampers, allowances for sagging, splicing as well as slacks allowed for maintenance purposes within the line and at substation ends. | route km | 51
417 | INSULATORS AND FITTINGS
417-1 | Single suspension insulator set for single "Canary" completed with clamps, fittings, clevis, armour rod | set | 660
417-2 | Double suspension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis, armour rod | set | 36
417-3 | Double tension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis | set | 45
417-4 | Light duty tension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis | set | 387
417-5 | Jumper suspension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis, armour rod | set | 39
417-6 | Counterweights 40 kg * 5 nos. for each tower | per tower | 10
418 | OVERHEAD EARTH CONDUCTOR FITTINGS
418-1 | Suspension set for overhead earth conductor completed with clamps, fittings, bonding wire | set | 116
418-2 | Tension set for overhead earth conductor completed with clamps, fittings, both for foreside and backside | set | 70
418-3 | Tension set for earth conductor completed with clamps, fittings, for gantry of slack span | set | 4
419 | OVERHEAD GROUND WIRE FITTINGS (OPGW)
419-1 | Suspension set for OPGW completed with clamps, fittings, bonding wire | set | 116
419-2 | Tension set for OPGW completed with clamps, fittings, both for foreside and backside | set | 70
419-3 | Tension set for overhead OPGW completed with clamps, fittings, for gantry of slack span | set | 4
419-4 | Joint box for OPGW including fixing & splicing materials and down lead clamps, extra length of OPGW for down lead | set | 15
420 | Bird diverter system | lot | 1
421 | Tower Obstruction Lighting complete including independent power supply, according to ICAO regulations, or other method, eg inductive, details to be provided. | per tower | 5
422 | Tower Obstruction Lighting complete including independent solar power supply, according to ICAO regulations. | per tower | 10
423 | Aircraft warning spheres complete with accessories - 600mm diameter as specified | each | 170
Total for Schedule No. 4

## C1-TL.Schedule No.5
C1 - Transmission Line Price Schedules
Schedule No. 5: Training
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
501 | Software training for ten (10) personnel of Employer for Training shall be for each software as specified.
501.1 | PLS-CADD w/Optimum Spotting and Finite Element Sag/Tension | lot | 1
501.2 | PLS-Tower | lot | 1
501.3 | PLS-Pole (All inclusive) with integrated CAISSON | lot | 1
501.4 | AutoCAD | lot | 1
Total for Schedule No. 5 (carried forward to Summary, p. IV-C1-31)

## C1-TL.Schedule No.6
C1 - Transmission Line Price Schedules
Schedule No. 6: Mandatory Spare Parts
Item no. | Description | Unit | Quantity | Country of Origin | Rate |  | Amount
[5 empty] | Local | Foreign | Local | Foreign
600 | Spare Towers
600-1 | Towers Type S +3m basic body inclusive of complete stub sets per tower | Tower | 2
600-2 | Towers Type S +6m basic body | Tower | 2
600-3 | Towers Type T10 +3m basic body inclusive of complete stub sets per tower | Tower | 1
600-4 | Towers Type T10 +6m basic body | Tower | 1
600-5 | Towers Type T30 +3m basic body inclusive of complete stub sets per tower | Tower | 1
600-6 | Towers Type T30 +6m basic body | Tower | 1
600-7 | Towers Type T60 +3m basic body inclusive of complete stub sets per tower | Tower | 1
600-8 | Towers Type T60 +6m basic body inclusive of complete stub sets per tower | Tower | 1
601 | CONDUCTORS, EC, OPGW
601-1 | LL-ACSR "Canary" equivalent conductor | km | 9
601-2 | Earth Conductor | km | 2
601-3 | OPGW | km | 2
601-4 | Mid-span joints for LL-ACSR "Canary" | set | 12
601-5 | Pre-formed armer-rod type repair sleeves for LL-ACSR "Canary" | set | 12
601-6 | Compression type repair sleeves for LL-ACSR "Canary" | set | 10
601-7 | Vibration dampers for LL-ACSR "Canary" | set | 48
601-8 | Mid-span joints for Earth Conductor | set | 2
601-9 | Vibration dampers for Earth Conductor | set | 4
601-10 | Vibration dampers for OPGW | set | 4
602 | ACCESSORIES FOR TOWER
602-1 | Step bolts (12 no. for one set) | set | 5
603 | INSULATORS AND FITTINGS
603-1 | Single suspension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis, armour rod | set | 24
603-2 | Double suspension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis, armour rod | set | 6
603-3 | Double tension insulator set for single LL-ACSR "Canary" completed with clamps, fittings, clevis | set | 18
603-4 | Suspension clamps completed with preformed armour-rod for LL-ACSR "Canary" | set | 24
603-5 | Tension clamps for LL-ACSR "Canary" | set | 24
604 | OVERHEAD EARTH CONDUCTOR FITTINGS
604-1 | Suspension set for overhead earth conductor completed with clamps, fittings, bonding wire | set | 4
604-2 | Tension set for overhead earth conductor completed with clamps, fittings, both for foreside and backside | set | 4
605 | OVERHEAD OPGW FITTINGS
605-1 | Suspension set for OPGW completed with clamps, fittings, bonding wire | set | 4
605-2 | Tension set for OPGW completed with clamps, fittings, both for foreside and backside | set | 4
605-3 | Joint box for OPGW including fixing & splicing materials and down lead clamps, extra length of OPGW for down lead | set | 2
605-4 | Splicing tool / kit for OPGW | set | 1
606 | SURVEY EQUIPMENT
606-1 | SUPPLY OF PROCESSING KINEMATICS & RTK, DGPS SYSTEM WITH INTERGRATED SURVEY CAPABILITIES, COMPATIBLE OFFICE ABD FIELD SOFTWARE AND OTHER ACCESSORIES. .(detailed technical specifications ) | Set | 2
606-2 | SUPPLY OF HANDHELD GNSS DATA COLLECTION DEVICE. .(detailed technical specifications ) | Set | 6
606-3 | SUPPLY OF HANDHELD GPS DATA COLLECTOR.(detailed technical specifications ) | Set | 5
Total for Schedule No. 6 (carried forward to Summary, p IV-C1-31)

## C1-TL.Schedule No.7
C1 - Transmission Line Price Schedules
Schedule No. 7: Recommended Spare Parts
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local | Foreign | Local | Foreign
701
702
Total for Schedule No. 7
(carried forward to Summary, p. IV-C1-31)

## A-TL_Daywork Rates
Transmission Line Price Schedules
Schedule of Daywork Rates: 1. Labour
ItemNo. | Description | Unit | NominalQuantity | Rate |  | Extended Amount
|  |  |  | Local | Foreign | Local | Foreign
D101
D102
D103
D104
D105
D106
D107
D108
Subtotal
Allow percent1 of Subtotal for Contractor’s profit, overheads, etc.
Total Daywork for Labour (carried forward to Daywork summary, p. IV-C1-29)
Transmission Line Price Schedules
Schedule of Daywork Rates: 2. Materials
Item No. | Description | Unit | Nominal Quantity | Rate |  | Extended Amount
|  |  |  | Local | Foreign | Local | Foreign
D201
D202
D203
D204
D205
D206
D207
D208
D209
D210
Subtotal
Allow percent1 of Subtotal for Contractor’s profit, overheads, etc.
Total Daywork for Materials (carried forward to Daywork summary, p. IV-C1-29)
Transmission Line Price Schedules
Schedule of Daywork Rates: 3. Contractor’s Equipment
Item No. | Description | Unit | Nominal Quantity | Rate |  | Extended Amount
|  |  |  | Local | Foreign |  | Local
D301
D302
D303
D304
D305
D306
D307
D308
D309
D310
Subtotal
Allow percent1 of Subtotal for Contractor’s profit, overheads, etc.
Total Daywork for Contractor’s Equipment (carried forward to Daywork summary, p. IV-C1-29)
Transmission Line Price Schedules
Daywork Summary
Item No. | Description |  |  |  |  | Amount
[6 empty] | Local | Foreign
1 | Total for Daywork: Labour
2 | Total for Daywork: Materials
3 | Total for Daywork: Contractor’s Equipment
Total for Daywork (Provisional Sum) (carried forward to Summary, p. IV-C1-31)

## B-TL_Provisional Sum
Transmission Line Price Schedules
Schedule of Specified Provisional Sums
Item No. | Description | Amount
|  | Local | Foreign
1 | Cost of Dispute Board (DB) | 10000000 | 1500000
2 | CSR Project | 100000000
Total (carried forward to Grand Summary (C), p. IV-C1-31 ) |  | 110000000 | 1500000

## TL-Summary
Transmission Line Price Schedules
Summary: Transmission Line
Description |  | Page | Amount
|  |  | Local | Foreign
Schedule No. 1.1: General Items |  | IV-C0-3
Schedule No. 2: Design |  | IV-C1-2
Schedule No. 3: Supply of Plant (Off-Site) |  | IV-C1-8
Schedule No. 4: Construction, Installation and Testing (On-Site) |  | IV-C1-14
Schedule No. 5: Training |  | IV-C1-16
Schedule No. 6: Mandatory Spare Parts |  | IV-C1-19
—etc.—
(A) | Total of Schedules (1.1, 2, 3, 4, 5 & 6)
(B) | Total for Daywork (Provisional Sum) | IV-C1-29
(C) | Specified Provisional Sums | IV-C1-30
Schedule No. 7: Recommended Spare Parts |  | IV-C1-21 | [sum] | [sum]