## preamble to the price schedules
Preamble to the price schedules
The scope of work includes the execution of pending designs, supplies, installations and testing and commissioning of the Nanyuki Isiolo and Nanyuki Rumuruti transmission line. The scope of work also includes pending designs, supplies, installations, testings and commissioning of the Nanyuki, Isiolo and Rumuruti substation protection systems associated with the Nanyuki Isiolo and Nanyuki Rumuruti transmission lines. It is therefore the contractors responsibility to review these price schedules, the project store material and the status of the partially constructed line and substations to ascertain and bid sufficienty for the design, supply, installation, testing and commissioning required for the completion of the project. Any designs, supplies, installations, testing and commissioning required for the complete functionality of the Nanyuki Isiolo and Nanyuki Rumuruti Transmisssion line will be deemed to be included in the price schedules and the contract sum

## Sch. 1- Supply foreign (TL)
Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad
Schedule No. 1.0: COMPLETION OF 132 kV ISIOLO-NANYUKI Transmission Line
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
ITEM NO | DESCRIPTION | CODE COUNTRY OF ORIGIN | UNIT | QTY | Unit Price2 (USD) |  | Total Price2 (USD)
[5 empty] | (2) | CIP Project Site (3) | (1) x (3)
1 | SELF-SUPPORTING STEEL TOWERS, COMPLETE WITH ALL PLATES, SAFETY DEVICES, FITTINGS, BOLTS, NUTS, ACCESSORIES AND EXTENSIONS
1.1 | Type S Suspension Tower
1.1.1 | Type S tower, basic |  | per tower | 1 |  |  | 0
1.1.3 | Type S tower, 0m body extension |  | per tower | 0 |  |  | 0
1.1.4 | Type S tower basic -3m (complete tower) |  | per tower | 0 |  |  | 0
1.1.5 | 3m Body extension |  | per tower | 1 |  |  | 0
1.1.6 | 6m Body extension |  | per tower | 1 |  |  | 0
1.1.7 | Type S tower , 9m Body extension |  | per tower | 0 |  |  | 0
1.1.8 | Type S tower , 1m Leg extension |  | per leg | 1 |  |  | 0
1.1.9 | Type S tower , 2m Leg extension |  | per leg | 1 |  |  | 0
1.1.10 | Type S tower , 3m Leg extension |  | per leg | 1 |  |  | 0
1.1.10 | Type S tower , 4m Leg extension |  | per leg | 1 |  |  | 0
1.1.11 | Type S tower, stubs |  | per tower | 1 |  |  | 0
0
1,2 | Type L Tension Tower | [5 empty] | 0
1.2.1 | Type L tower, basic |  | per tower | 1 |  |  | 0
1.2.2 | Type L tower, 0m Body extension |  | per tower | 0 |  |  | 0
1.2.3 | Type L tower basic -3m (complete tower) |  | per tower | 0 |  |  | 0
1.2.4 | Type L tower , 3m Body extension |  | per tower | 0 |  |  | 0
1.2.5 | Type L tower , 6m Body extension |  | per tower | 1 |  |  | 0
1.2.6 | Type L tower , 9m Body extension |  | per tower | 0 |  |  | 0
1.2.7 | Type L tower , 1m Leg extension |  | per leg | 1 |  |  | 0
1.2.8 | Type L tower , 2m Leg extension |  | per leg | 1 |  |  | 0
1.2.9 | Type L tower , 3m Leg extension |  | per leg | 1 |  |  | 0
1.2.10 | Type L tower , 4m Leg extension |  | per leg | 1 |  |  | 0
1.2.11 | Type L tower , stubs |  | per tower | 1 |  |  | 0
1,3 | Type M Tension Tower | [5 empty] | 0
1.3.1 | Type M tower, basic |  | per tower | 1 |  |  | 0
1.3.2 | Type M tower basic -3m (complete tower) |  | per tower | 0 |  |  | 0
1.3.3 | 3m Body extension |  | per tower | 1 |  |  | 0
1.3.4 | Type M tower , 6m Body extension |  | per tower | 0 |  |  | 0
1.3.5 | Type M tower , 9m Body extension |  | per tower | 0 |  |  | 0
1.3.6 | Type M tower , 1m Leg extension |  | per leg | 1 |  |  | 0
1.3.7 | Type M tower , 2m Leg extension |  | per leg | 1 |  |  | 0
1.3.8 | Type M tower , 3m Leg extension |  | per leg | 1 |  |  | 0
1.3.9 | Type M tower , 4m Leg extension |  | per leg | 1 |  |  | 0
1.3.10 | Type M tower , stubs |  | per tower | 1 |  |  | 0
1,4 | Type H Tension Tower | [5 empty] | 0
1.4.1 | Type H tower, basic |  | per tower | 1 |  |  | 0
1.4.2 | Type H tower basic -3m (complete tower) |  | per tower | 0 |  |  | 0
1.4.3 | 3m Body extension |  | per tower | 1 |  |  | 0
1.4.4 | Type H tower , 6m Body extension |  | per tower | 0 |  |  | 0
1.4.5 | Type H tower , 9m Body extension |  | per tower | 0 |  |  | 0
1.4.6 | Type H tower , 1m Leg extension |  | per leg | 1 |  |  | 0
1.4.7 | Type H tower , 2m Leg extension |  | per leg | 1 |  |  | 0
1.4.8 | Type H tower , 3m Leg extension |  | per leg | 1 |  |  | 0
1.4.9 | Type H tower , 4m Leg extension |  | per leg | 1 |  |  | 0
1.4.10 | Type H tower, stubs |  | per tower | 1 |  |  | 0
1,5 | Type HT Tension Tower | [5 empty] | 0
1.5.1 | Type HT tower, basic |  | per tower | 1 |  |  | 0
1.5.2 | Type HT tower basic -3m (complete tower) |  | per tower | 0 |  |  | 0
1.5.3 | 3m Body extension |  | per tower | 1 |  |  | 0
1.5.4 | Type HT tower , 6m Body extension |  | per tower | 0 |  |  | 0
1.5.5 | Type HT tower , 9m Body extension |  | per tower | 0 |  |  | 0
1.5.6 | Type HT tower , 1m Leg extension |  | per leg | 0 |  |  | 0
1.5.7 | Type HT tower , 2m Leg extension |  | per leg | 0 |  |  | 0
1.5.8 | Type HT tower , 3m Leg extension |  | per leg | 0 |  |  | 0
1.5.9 | Type HT tower , 4m Leg extension |  | per leg | 0 |  |  | 0
1.5.10 | Type HT tower , stubs |  | pr tower | 1 |  |  | 0
1,6 | Type Ttrm Tension Tower | [5 empty] | 0
1.6.1 | Type Ttrm tower, basic |  | per tower | 1 |  |  | 0
1.6.2 | Type Ttrm tower basic -3m (complete tower) |  | per tower | 0 |  |  | 0
1.6.3 | Type Ttrm tower , 3m Body extension |  | per tower | 1 |  |  | 0
1.6.4 | Type Ttrm tower , 6m Body extension |  | per tower | 0 |  |  | 0
1.6.5 | Type Ttrm tower , 9m Body extension |  | per tower | 0 |  |  | 0
1.6.6 | Type Ttrm tower , 1m Leg extension |  | per leg | 1 |  |  | 0
1.6.7 | Type Ttrm tower , 2m Leg extension |  | per leg | 1 |  |  | 0
1.6.8 | Type Ttrm tower , 3m Leg extension |  | per leg | 1 |  |  | 0
1.6.9 | Type Ttrm tower , 4m Leg extension |  | per leg | 1 |  |  | 0
1.6.10 | Type Ttrm tower, stubs |  | per tower | 1 |  |  | 0
1.7 | Extra tower Bolts,nuts,washers,complete with pack, antitheft and all fully galvanized ,each type |  | kg | 1000
Sub-Total, Tower Supply (items 1.1 - 1.6) | [6 empty] | 0
NOTE: The prices above shall include 1 meter tower legs as necessary for approved connection to stubs. Additional individual leg extensions will be paid for at the steel weight unit prices stated. Anti-theft bolts shall be provided from ground level to 1m below the lowest cross arm.
2 | All tower groundings including, counterpoise, connection to towers including all clamps or other connections, corrosion protection & Tower accessories
2,1 | Basic grounding, consisting of three (3) ground rods 1m long and 5m counterpoise. |  | per tower | 207 |  |  | 0
2,2 | Special grounding, 20 m lengths of ground wire including connectors. |  | per tower | 4 |  |  | 0
2,3 | Complete set of tools for all connecting and jointing of earthing devices |  | set | 2 |  |  | 0
2,4 | Tower Anticlimbing Barriers |  | per tower | 207 |  |  | 0
2,5 | Tower Aerial Number plates |  | per tower | 207 |  |  | 0
2,6 | Tower numbers and circuit identification signs |  | per tower | 207 |  |  | 0
2,7 | Farm Gates |  | each | 6 |  |  | 0
Sub-Total, Earthing Materials & Tower accessories (Item 2.1-2.7) | [6 empty] | 0
3 | CONDUCTORS, INCLUDING ALL JOINTS, JUMPER LOOPS, SPACERS, SPACERS, SPACER DAMPERS AND VIBRATION DAMPERS AS REQUIRED
3,1 | Conductors, 3 x ACSR "Lynx" |  | km | 25 |  |  | 0
| Note: Addition for jumpers, sags, splicing etc. to be included in the price per km line length. | [5 empty] | -
-
3,2 | Earthwires, 1 x OPGW |  | km | 16.25 |  |  | -
| Note: Addition for jumpers, sags, splicing etc. to be included in the price per km line length. | [5 empty] | -
-
Sub-Total, Conductors & Earthwires (Item 3.1 - 3.3) | [6 empty] | 0
4 | COMPOSITE INSULATOR SETS AND EARTH CONDUCTOR ATTACHMENTS, COMPLETE WITH ALL FITTINGS BETWEEN TOWER AND CONDUCTORS
4.1 | 132 kV insulator string assemblies, complete with all clamps, hardware, fittings etc. for single conductor type ACSR-Lynx
4.1.1 | Single Suspension insulator strings |  | each | 290 |  |  | 0
4.1.2 | Double Suspension insulator strings (2 ins.) |  | each | 30 |  |  | 0
4.1.3 | Single tension insulator strings |  | each | 135 |  |  | 0
4.1.4 | Double tension insulator strings (2 ins.) |  | each | 60 |  |  | 0
4.1.5 | Single "jumper" insulator strings |  | each | 195 |  |  | 0
0
4,2 | Fittings for conductor type ACSR-Lynx | [5 empty] | 0
4.2.1 | Tension joints |  | each | 2 |  |  | 0
4.2.2 | Repair sleeves |  | each | 2 |  |  | 0
4.2.3 | Vibration dampers (Stockbridge) |  | each | 2 |  |  | 0
4.2.3 | Armor Rods |  | each | 2 |  |  | 0
4.2.4 | Counterweights for suspension strings | [5 empty] | 0
| a) 40 kg |  | each | 2 |  |  | 0
| b) 80 kg |  | each | 2 |  |  | 0
4.2.5 | Other accessories |  | lot | 1 |  |  | 0
0
4,3 | Fittings for Optical Ground Wire (OPGW) | [5 empty] | 0
4.3.1 | Repair sleeves |  | each | 10 |  |  | 0
4.3.2 | Vibration dampers (Stockbridge) |  | each | 10 |  |  | 0
4.3.2 | Armor Rods |  | each | 10 |  |  | 0
4.3.3 | Complete suspension assemblies, including armour rods, electrical connection to tower body |  | each | 363 |  |  | 0
4.3.4 | Complete tension assemblies (dead end) including electrical connection to tower body and downlead to splice boxes where required |  | lot | 10 |  |  | 0
4.3.5 | other accessories |  | lot | 1 |  |  | 0
4.3.6 | OPGW Joint Box |  | each | 4 |  |  | 0
4.3.7 | Aircraft Warning Markers |  | each | 50 |  |  | 0
4.3.8 | Obstruction Lights |  | each | 10 |  |  | 0
Sub-Total, Insulators and Fittings (Item 4.1 - 4.3) | [6 empty] | 0
Sub- total for item 5.0 - Erection and O & M tools | [6 empty] | #REF!
5 | ANY OTHER WORKS AND EQUIPMENT REQUIRED TO COMPLY WITH THE REQUIREMENTS OR SAFE OPERATION OF THE FACILITIES
5.1 | Optical regenerative repeater inclusive of solar cells and batteries as required (Supply only) |  | each | 1 |  |  | 0
6 | ANY OTHER WORKS AND EQUIPMENT REQUIRED TO COMPLY WITH THE REQUIREMENTS OR SAFE OPERATION OF THE FACILITIES.
6.1 | Extra Bolts (including Anti theft Bolts) complete with pack and plain washers fully galvanised |  | Kg | 100
Sub- total for item 6.0 - Any other Works and Equipment required | [6 empty] | 0
7 | Sub Total Schedule No. 1.0: (to Grand Summary Schedule)
Name of Bidder
Signature of Bidder

## Sch. 2- Local supply
Price Schedules
Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
Schedule No. 2.0: COMPLETION OF 132 kV ISIOLO-NANYUKI Transmission Line
NOTE:Bidders are free to quote the prices in this Schedule for any of the items of Schedule No. 1 that Bidders propose to supply from Kenya and no items should be double priced
ITEM NO | DESCRIPTION | COUNTRY OF ORIGIN | UNIT | Qty. | EXW Unit Price1 | EXW Total Price1
|  |  |  | (1) | (2) | (1) x (2)
| Total Schedule 2 - Carried to Schedule No. 5 Grand Summary |  |  |  |  | 0
Name of Bidder
Signature of Bidder

## Sch. 3- Design services
Price Schedule
Schedule No. 3: Design Services
Schedule No. 3.0: COMPLETION OF 132 kV ISIOLO-NANYUKI Transmission Line
Item | Description | All Units Lump Sum (LS) | Qty. (1) | Unit Price (1) |  | Total Price (1)
|  |  |  | Local Currency Portion (2) | Foreign Currency Portion (optional) (3) | Local Currency Portion (1) x (2) | Foreign Currency Portion (Optional) (1) x (3)
3 | DESIGN SERVICES
3.4 | Review and complete pending/outstanding transmission line designs | LS | 1
SUB-TOTAL FOR ITEM 3.1 DESIGN SERVICES - 132kV TRANSMISSION LINES COMPLETE
TOTAL (to Schedule No. 5. Grand Summary) | [5 empty] | #REF! | #REF!
Name of Bidder :
Signature of Bidder _______________________________
1Specify currency in accordance with specifications in Did Data Sheet under ITB 15.1 .

## Sch. 4 - Installation
Price Schedule
Schedule No. 4 : Installation and Other Services
Schedule No. 4.0: COMPLETION OF 132 kV ISIOLO-NANYUKI Transmission Line
Item | Description | Unit | Qty. | Unit Price 1 |  | Total Price 1
|  |  |  | Foreign Currency Portion (USD) (2) | Local Currency Portion (KSh) (3) | Foreign Currency Portion (USD) (1) x (2) | Local Currency Portion (KSh) (1) x (3)
1 | SURVEY WORKS & SOIL INVESTIGATION
1.1 | Complete any pending or new profile survey and setting out of the transmision line route including preparation of profiles and drawings, peegging of tower positions, preparation of diagonal profiles and probe testing at each tower. | Lot | 1
1.2 | Sub-soil investigations at support locations by means of in-situ penetrometer, vane test or bearing test to determine class of foundation to be installed | per tower | 20
Sub-total, Design and Survey, item 1.1 - 1.2.5
2 | BUSH CLEARING AND ACCESS ROADS
2,1 | Complete clearing of trees, bush and anthills as per Specification, along the transmission line route | route km | 71
2,2 | Establishment of required vehicle access track and maintenance road along the cleared line route | Lot | 1
2,3 | Installation of Farm Gates | No. | 5
Sub-total, Bush Clearing and Access Road, item 2.1 - 2.3
3 | FOUNDATION WORKS
Complete foundation (including stub, cleats and setting) Including installation of basic tower earthing
3,1 | Complete foundation Works for Type S towers
3.1.1 | Concrete pad and chimney for soil class C1 | per tower | 0
3.1.2 | Concrete pad and chimney for soil class C2 | per tower | 1
3.1.3 | Concrete pad and chimney for soil class C3 | per tower | 3
3.1.4 | Concrete pad and chimney for soil class C4 | per tower | 4
3.1.5 | Concrete pad and chimney for soil class C4W | per tower | 2
3.1.6 | Concrete pad and chimney for soil class C5 | per tower | 1
3.1.7 | Concrete pad and chimney for soil class C5W | per tower | 1
3.1.8 | Special pilling, raft, enlarged concrete pad and chimney, C6 | per tower | 0
3,2 | Complete foundation works for type L towers
3.2.1 | Concrete pad and chimney for soil class C1 | per tower | 0
3.2.2 | Concrete pad and chimney for soil class C2 | per tower | 0
3.2.3 | Concrete pad and chimney for soil class C3 | per tower | 1
3.2.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.2.5 | Concrete pad and chimney for soil class C4W | per tower | 0
3.2.6 | Concrete pad and chimney for soil class C5 | per tower | 1
3.2.7 | Concrete pad and chimney for soil class C5W | per tower | 0
3.2.8 | Special pilling, raft, enlarged concrete pad and chimney, C6 | per tower | 0
3,3 | Complete foundation works for Type M towers
3.3.1 | Concrete pad and chimney for soil class C1 | per tower | 0
3.3.2 | Concrete pad and chimney for soil class C2 | per tower | 0
3.3.3 | Concrete pad and chimney for soil class C3 | per tower | 0
3.3.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.3.5 | Concrete pad and chimney for soil class C4W | per tower | 1
3.3.6 | Concrete pad and chimney for soil class C5 | per tower | 0
3.3.7 | Concrete pad and chimney for soil class C5W | per tower | 0
3,4 | Complete foundation works for Type H towers
3.4.1 | Concrete pad and chimney for soil class C1 | per tower | 0
3.4.2 | Concrete pad and chimney for soil class C2 | per tower | 0
3.4.3 | Concrete pad and chimney for soil class C3 | per tower | 0
3.4.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.4.5 | Concrete pad and chimney for soil class C4W | per tower | 1
3.4.6 | Concrete pad and chimney for soil class C5 | per tower | 0
3.4.7 | Concrete pad and chimney for soil class C5W | per tower | 0
3,5 | Complete foundation works for Type HT towers
3.5.1 | Concrete pad and chimney for soil class C1 | per tower | 0
3.5.2 | Concrete pad and chimney for soil class C2 | per tower | 0
3.5.3 | Concrete pad and chimney for soil class C3 | per tower | 1
3.5.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.5.5 | Concrete pad and chimney for soil class C4W | per tower | 0
3.5.6 | Concrete pad and chimney for soil class C5 | per tower | 0
3.5.7 | Concrete pad and chimney for soil class C5W | per tower | 0
3,6 | Complete foundation works for Type Ttrm towers
3.6.1 | Concrete pad and chimney for soil class C1 | per tower | 1
3.6.2 | Concrete pad and chimney for soil class C2 | per tower | 1
3.6.3 | Concrete pad and chimney for soil class C3 | per tower | 1
3.6.4 | Concrete pad and chimney for soil class C4 | per tower | 1
3.6.5 | Concrete pad and chimney for soil class C4W | per tower | 1
3.6.6 | Concrete pad and chimney for soil class C5 | per tower | 1
3.6.7 | Concrete pad and chimney for soil class C5W | per tower | 1
3,7 | MISCELLANEOUS PRICES FOR FOUNDATION WORK: Special foundation works including pile caps, beams and modification to normal foundation to adapt specified foundation classes to cater for particular soil conditions
3.7.1 | Additional concrete including cost of formwork | cubic meter | 1
3.7.2 | Additional excavation including reinstatement | cubic meter | 1
3.7.3 | Additional steel reinfocing bars including supply, bending and placing | tonne | 1
3.7.4 | Solid rock excavation excluding Class 1 foundations (including reinstatement) | cubic meter | 1
3.7.5 | Imported backfill | cubic meter | 1
3.7.6 | Rip-rap stone work, 0.5m deep over tower base to protect against erosion | square meter | 1
3.7.7 | 1m x 1m x 1m rock filled gabion installed to protect foundations against erosion | linear m | 1
3,8 | Foundation type tests to ultimate or destruction for S type tower, including mobilisation and erection of all test equipment and installation of the standard footing | Lot | 1
3.8.1 | Individual rock anchor | per anchor | 1
3.8.2 | Class 2 type foundation | per footing | 1
3.8.3 | Class 3 type foundation | per footing | 1
Sub-total, Foundation Works, item 3.1 - 3.8
4 | TOWER ERECTION
Complete erection works in accordance with Specifications, handling, storage at site and distribution to individual tower sites
4,1 | Complete erection works for suspension towers
4.1.1 | Type S tower, basic | per tower | 15
4.1.2 | Type S tower basic -3m (complete tower) | per tower | 0
4.1.3 | Type S tower + 3m Body extension | per tower | 1
4.1.4 | Type S tower + 6m Body extension | per tower | 1
4.1.5 | Type S tower + 9m Body extension | per tower | 0
4,2 | Complete erection works for tension towers
4.2.1 | Type L tower, basic | per tower | 1
4.2.2 | Type L tower basic -3m (complete tower) | per tower | 0
4.2.3 | Type L tower + 3m Body extension | per tower | 1
4.2.4 | Type L tower + 6m Body extension | per tower | 0
4.2.5 | Type L tower + 9m Body extension | per tower | 0
4.2.6 | Type M tower, basic | per tower | 1
4.2.7 | Type M tower basic -3m (complete tower) | per tower | 0
4.2.8 | Type M tower + 3m Body extension | per tower | 0
4.2.9 | Type M tower + 6m Body extension | per tower | 0
4.2.10 | Type M tower + 9m Body extension | per tower | 0
4.2.11 | Type H tower, basic | per tower | 1
4.2.12 | Type H tower basic -3m (complete tower) | per tower | 0
4.2.13 | Type H tower + 3m Body extension | per tower | 0
4.2.14 | Type H tower + 6m Body extension | per tower | 0
4.2.15 | Type H tower + 9m Body extension | per tower | 0
4.2.16 | Type HT tower, basic | per tower | 1
4.2.17 | Type HT tower basic -3m (complete tower) | per tower | 0
4.2.18 | Type HT tower + 3m Body extension | per tower | 0
4.2.19 | Type HT tower + 6m Body extension | per tower | 0
4.2.20 | Type HT tower + 9m Body extension | per tower | 0
4.2.21 | Type Ttrm tower, basic | per tower | 1
4.2.22 | Type Ttrm tower basic -3m (complete tower) | per tower | 0
4.2.23 | Type Ttrm tower + 3m Body extension | per tower | 1
4.2.24 | Type Ttrm tower + 6m Body extension | per tower | 0
4.2.25 | Type Ttrm tower + 9m Body extension | per tower | 0
4,3 | Installation works for Leg Extensions
4.3.1 | Type S tower , 1m Leg extension | per tower | 1
4.3.2 | Type S tower , 2m Leg extension | per tower | 1
4.3.3 | Type S tower , 3m Leg extension | per tower | 1
4.3.4 | Type S tower , 4m Leg extension | per tower | 1
4.3.5 | Type L tower , 1m Leg extension | per tower | 1
4.3.6 | Type L tower , 2m Leg extension | per tower | 1
4.3.7 | Type L tower , 3m Leg extension | per tower | 1
4.3.8 | Type L tower , 4m Leg extension | per tower | 1
4.3.9 | Type M tower , 1m Leg extension | per tower | 1
4.3.10 | Type M tower , 2m Leg extension | per tower | 1
4.3.11 | Type M tower , 3m Leg extension | per tower | 1
4.3.12 | Type M tower , 4m Leg extension | per tower | 1
4.3.13 | Type H tower , 1m Leg extension | per tower | 0
4.3.14 | Type H tower , 2m Leg extension | per tower | 0
4.3.15 | Type H tower , 3m Leg extension | per tower | 0
4.3.16 | Type H tower , 4m Leg extension | per tower | 0
4.3.17 | Type HT tower , 1m Leg extension | per tower | 0
4.3.18 | Type HT tower , 2m Leg extension | per tower | 0
4.3.19 | Type HT tower , 3m Leg extension | per tower | 0
4.3.20 | Type HT tower , 4m Leg extension | per tower | 0
4.3.21 | Type Ttrm tower , 1m Leg extension | per tower | 0
4.3.22 | Type Ttrm tower , 2m Leg extension | per tower | 0
4.3.23 | Type Ttrm tower , 3m Leg extension | per tower | 0
4.3.24 | Type Ttrm tower , 4m Leg extension | per tower | 0
Sub-total, Tower Erection Works, item 4.1 - 4.3
4,4 | TOWER TYPE TESTS: TO DESTRUCTION (TYPE 'S') & ULTIMATE LOADING (L, M, H, HT & Ttrm)
4.4.1 | Type S with 6m body extension and 4x4m leg extension. Tower type test to ultimate loading including supply, erection, dismantling and allowance for reuse on contract together with provision for extra new bolts | each | 0
4.4.2 | Type L with 6m body extension and 4x 4m leg extension | each | 0
4.4.3 | Type M with 6m body extension and 4x 4m leg extension | each | 0
4.4.4 | Type H standard height tower | each | 0
4.4.5 | Type HT standard height tower | each | 0
4.4.6 | Type Ttrm standard height tower | each | 0
NOTE: Tower type test to destruction will not be required where proof exists that the towers have been type-tested and are already successfully in operation. Where a new tower design will be used, type-test costs will be paid for at the unit prices stated. The Costs in Item 4.4 will not be added to the Bid price (unless approved by Employer during negotiations) but will be added to the Evaluated Price at Bid evaluation.
4,5 | PRICES FOR MISCELLANEOUS STEEL WORK, PRICES FOR SPECIAL TOWERS, SPECIAL EXTENSIONS AND MODIFICATIONS
4.5.1 | Structural Mild Steel | tonne | 100
4.5.2 | Structural High Tensile Steel | tonne | 100
NOTE: Where special Towers, Special extensions and modifications and any miscellaneous steel works have been approved by the Project Manager, they will be paid for at the steel unit prices stated. The steel price in Item 4.5 will not be added to the Contract price but will be added to the Evaluated Price only.
5 | INSTALLATION OF EARTHING
The prices shall include distribution to individual sites, excavation, installation of rods, coils and counterpoise cable, all necessary connection, backfill and all other works necessary for installation as per specifications and approved drawings
5.1 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner | per tower | 207
5.2 | Installation of additional tower earthing set based on counterpoise and rods | per tower | 100
5.3 | Installation of additional tower earthing based on counterpoise coil | per tower | 50
5.4 | Installation of complete tower earthing based on radial counterpoise
5.4.1 | Laying at 500mm depth | per tower | 177
5.4.2 | Laying at 750mm depth | per tower | 30
5.5 | Installation of continuous or extended counterpoise
5.5.1 | Laying at 500mm depth | m | 100
5.5.2 | Laying at 750mm depth | m | 100
Sub-total, Installation of Earthing, item 5.1 - 5.5
6 | INSTALLATION OF CONDUCTORS AND EARTHWIRES
All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, vibration dampers and transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices.
6.1 | Conductors:
| 3 single conductor, 2- phases, type ACSR-Lynx including ACS Earthwire | route km | 25
6.2 | OPGW Earthwire:
| 1 overrunning optical ground wire (OPGW) | route km | 16
6.3 | Installation of 600mm diameter warning spheres | pcs | 50
6.4 | Installation of obstruction lighting including solar panels and anciliaries in accordance with ICAO regulation | each | 10
6.5 | Set of three downleads to substation gantry (including low duty insulator sets) | per set | 2
6.6 | Set of one single OPGW conductor to substation line gantry including all fittings | per set | 3
6.7 | Set of one single fiber optic cable from substation line gantry to control building including all fittings | per set | 3
6.8 | Substation access road | route km | 0
6.9 | Jumpering from line gantry to line bay including all fittings | set | 4
6.1 | Factory inspection and test witnessing of OPGW | per inspection | 1
6.11 | Factory inspection and test witnessing of Phase conductors | per inspection | 1
Sub-total, Installation of Conductors and Earthwires, item 6.1 - 6.8
7 | OPGW JOINT BOXES & ELECTRICAL TESTS
7,1 | Jointing box for OPGW/OPGW for use within transmission line including fixing, splicing & down lead clamps | each | 11
7,2 | Electrical performance test witnessing of single and double suspension insulator string complete | per inspection | 1
7,3 | Electrical performance test witnessing of single and double tension insulator string complete | per inspection | 1
7,4 | Optical regenerative repeater inclusive of solar cells and batteries as required | per lot | 1
Sub-total, OPGW Joint boxes & Electrical Tests, item 7.1 - 7.4
8 | OTHER MISCELLANEOUS WORKS
8.1 | Cost of earthing metallic roofs of buildings | per building | 1
8.2 | Cost of earthing metallic fences | per connection | 1
8.3 | Painting of towers in red and white bands in accoradnce with IACO regulations | per tower | 1
8.4 | Provision of temporary backstays to accommodate temporary termination of conductors on tension tower | per tower | 6
8.5 | Transmission line inspection : Conductor, OPGW,associated fittings | km | 71
8.6 | Inspection of existing towers and foundations | per tower | 190
8.7 | Inspection and Checks of available transmission line material and equipment | lot | 1
8.8 | Correction, repairs, tightening of existing towers | per tower | 190
8.9 | Correction, repairs of existing foundations | per tower | 10
Sub-total, Installation of other miscellaneous works, item 8.1 - 8.4
9 | EMPLOYERS REPRESENTATIVE OFFICE, TRANSPORT AND TESTS
9,1 | Provision of transport using Vehicle type 1 | vehicle months | 36
9,2 | Factory Acceptance Tests (FAT) as per General Requirements, clause 15 | lumpsum | 1
9,3 | Provision of transport using office accomodation for employers representatives | months | 12
Sub-total, Engineers Commmunication & Tests, item 9.2 - 9.3
TOTAL SCHEDULE NO. 4 Installation & Other Services (carried to Schedule No. 5 Grand Summary)
Name of Bidder
Signature of Bidder

## Sch. 5-Grand summary
PRICE SCHEDULES
SCHEDULE NO. 5 GRAND SUMMARY
Schedule No. 5.0:Nanyuki-Rumuruti, Nanyuki-Isiolo Underground cable
Total Price (1)
Schedule | Description | Foreign Currency Portion (USD) | Local Currency Portion (KSh)
1 | Total Schedule No. 1: Lot 1 - Plant and Mandatory Spare Parts Supplied from Abroad | 0
2 | Total Schedule No. 2.0: Plant and Mandatory Spare Parts Supplied from Within the Employer's Country |  | 0
3 | Total Schedule No. 3.0: Design Services | 0 | 0
4 | Total Schedule No. 4.0: Installation and Other Services | #VALUE! | #VALUE!
GRAND TOTAL (To Bid Form) |  | #VALUE! | #VALUE!
|  | Name of Bidder : |  | USD | KES
|  | Signature of Bidder : _________________________________ |  | 15410695.16 | 547699840.98
|  |  |  | 154106.9516 | 64970.3251
219077.2767
1Specify currency in accordance with specifications in Bid Data Sheet under ITB 15.1. Create and use as many columns for Foreign Curreny as there are foreign currencies |  |  |  | 15191617.8833
|  |  |  | 1.422% | 98.58%
U/G OPGW and fittings

## Sch 6. Recommeded spare parts
Price Schedule
Schedule No. 6: RECOMMENDED SPARE PARTS
Schedule No. 6.0: Nanyuki-Rumuruti, Nanyuki-Isiolo Transmission Line
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
ITEM NO | DESCRIPTION | COUNTRY OF ORIGIN | UNIT | QTY | UNIT PRICE EX FACTORY OR FCA | UNIT PRICE INCREASE DELIVERY DDU SITES | TOTAL UNIT PRICES (SUM OF COLS. 6 AND 7) | TOTAL ITEM PRICES (COL.5 x COL.8)
[5 empty] | CURRENCY | CURRENCY | CURRENCY | CURRENCY
[5 empty] | USD | USD | USD | USD
10 | SPARE MATERIALS
RECOMMENDED SPARE PARTS TO BE FILLED BY THE BIDDER
2.4 | Link boxes | 0 | lot |  | 0 | 0 | 0 | 0
1.5 | 132kV surge arrestor | 0 | lot |  | 0 | 0 | 0 | 0
3.1 | Cable tray | 0 | km |  | 0 | 0 | 0 | 0
1.3 | U/G OPGW | 0 | route km |  | 0 | 0 | 0 | 0
3.2 | Steel frame including foundation connection sytstem | 0 | lot |  | 0 | 0 | 0 | 0
Sub-Total, Spares, (Item 10.1 - 10.11)
U/G OPGW and fittings